April 5, 2019

Brett Meyers

Iowa Department of Natural Resources

909 West Main

Suite 4

Manchester, IA  52057

Re:	Interstate Power and Light Company

Report of an Oil Spill – Cedar Rapids, Iowa

Spill Number:  032319-BCM-0955

Dear Brett Meyers:

This letter is being sent on behalf of Interstate Power and Light Company (an Alliant Energy company).  It is the written report of a spill condition as required per the State of Iowa regulations.  The subject spill was contained and all cleanup has been accomplished.

a.  The exact location of the hazardous condition.

1320 Center Point Road NE in Cedar Rapids, Iowa

b.  The time and date of onset or discovery of the hazardous condition.

4:00 PM on 3/23/2019

c.  The name and volume of each material involved in the hazardous condition.

approximately 5 gallons of electrical equipment oil

d.  The medium (land, water or air) in which the hazardous conditions occurred or exists.

concrete and soil

e.  The name, address and telephone number of the party responsible for the hazardous condition.

Interstate Power and Light Company

200 First Street SE

Cedar Rapids, Iowa  52401

563-584-7388

f.  The time and date of the verbal report to the department of the hazardous condition.

9:53 AM on 3/23/2019

g.  The weather conditions at the time of the hazardous condition onset or discovery.

calm

h.  The name, mailing address and telephone number of the person reporting the hazardous condition.

J P Sealine

200 1st Street SE

Cedar Rapids, IA  52401

800-526-3323

i.  The name and telephone number of the person closest to the scene of the hazardous  condition who can be contacted for further information and action.

Gary Henry, Line Foreman

319-350-6928

j.  Any other information, such as the circumstances leading to the hazardous condition, visible effects and containment measures taken that may assist in proper evaluation by the department.

An electrical equipment failure caused a release of approximately 5 gallons of electrical equipment oil onto concrete and soil.  The pole mount transformer is non PCB.  All visible signs of oil were cleaned up and the spill material will be disposed of properly.

Please do not hesitate to contact me at 563-584-7388 if you have additional questions.

Sincerely,

Debbie Freese

Environmental Specialist

DebbieFreese@alliantenergy.com

cc:	Facility File