IOWA DEPARTMENT OF NATURAL RESOURCES

Field Office #1

1101 Commercial Ct, Suite 10, Manchester, IA  52057

563/ 927-2640 (phone)     563/927-2075 (fax)

Sanitary Disposal Project Visit (Landfill)

Permit # 07-SDP-01-75P
Site: Black Hawk County Sanitary Landfill                                                    Weather Conditions : Clear/Sunny   60°F
Operator Present: Dave Dobbs, Collin Dobbs, Landon Dobbs                   Waste Volume: 750 Tons /Day                                
                                Chris Oelkers, AEOCOM
                                John Foster, Adminstrator (via phone)
Date This Visit: 10/04/2022
N/A = not applicable or observed.

Observations:
 Yes    No    N/A    
Item

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

1.  Fill Cover Adequate: daily; intermediate;

                                   final

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

2.  Control of Face: slope; width; location

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

3.  Adequate Compaction?

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

4.  Wet Weather Area Available

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

5.  Internal Roads Accessible

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

6.  Recycling Activities Adequate 

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

7.  Manpower Adequate

  FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

8.  Operating Equipment Sufficient

_______________________________________________

Yes    No    N/A
Item 

 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

9.
Ponding, Poor Grading

 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

10
Drainage Into Fill

 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

11.
Cover Erosion 

 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

12.  Significant Leachate Seeps

 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

13.  Litter  

 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

14.  Inadequate Vegetative Cover

 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

15.  Other - Trees
 FORMCHECKBOX 
      FORMCHECKBOX 
        FORMCHECKBOX 

16.  Follow-up Visit Needed?

____________________________________________________

Comments: Trees located on the closed portion of the landfill (Area A, E, X, and Co-disposal) have not been removed as requested during previous inspections.  Mr. Foster indicated that he sent it out for bid following my May 18, 2022, inspection but had not received any bids.  He will put it out for bid again over the winter months and will also include vegetation mowing of the closed portions of the landfill.  Mr. Foster is confident that combining the mowing with the tree removal will increase the bids they receive and anticipates that the work will be done in the Spring of 2023. 
As of today, Cells W1 and W2 have been filled to permitted design capacity. It was reported that the final day of solid waste deposition in these cells was yesterday.  Cells W3 and W4 will eventually encompass the top of these cells, but that work will be done under the permitted footprint of Cells W3 and W4 as the will eventually butt up against them as they increase in elevation.

Current fill operations are occurring in Cell W3, phase1.  The first solid waste layer is almost complete, with about 30 feet to go to finish covering liner and drainage bed.  Landfill personnel stated that this cell will have adequate cover over the liner and drainage layer before winter begins. 
AUTHENTICATION
	INSPECTOR:
	NAME/TITLE: Chad Kehrli, Environmental Specialist

[image: image1.jpg]V) 8




	Date: 10/12/22


[image: image2.png]


