	[image: image1.jpg]lowA DEPARTMENT OF NATURAL RESOURCES GOVERNOR KIM REYNOLDS
LT. GOVERNOR ADAM GREGG

DIRECTOR KAYLA LYON




April 22, 2022
ATTN: BLANE BENHAM
CEDAR VALLEY RECYCLING AND TRANSFER CO.
1920 WATER ST.
P.O. BOX 2008

WATERLOO, IA 50704
SUBJECT:  Compliance Evaluation Inspection:  Permit No. 07-SDP-17-97P-XFR

Dear Mr. Benham:
Enclosed you will find a copy of my Compliance Evaluation Inspection report conducted at the Cedar Valley Recycling and Transfer Co. on April 19, 2022.

You should find this report self-explanatory.  All requirements are to be completed as specified in the report.  You are encouraged to consider the recommendations.  
Please review this report, and if you have any questions, do not hesitate to contact me at 563-920-1840 or jason.gearhart@dnr.iowa.gov 

The cooperation and time of Dena Smith during this inspection was appreciated.
Sincerely,

[image: image2.jpg]



[image: image3.jpg]



Jason Gearhart| Environmental Specialist
Field Office One

P 563-927-2640 ext. 304 | C 563-920-1840
Iowa Department of Natural Resources

1101 Commercial Ct. Ste. 10 
Manchester, IA 52057
c:        DNR Solid Waste section Becky Jolly (e-mail)
Efile: 07 SW Cedar Valley Recycling and Transfer Co 04192022 ins jag


	


IOWA DEPARTMENT OF NATURAL RESOURCES

TRANSFER STATION (XFR) PERMIT INSPECTION FORM
	Permit No.: 07-SDP-17-97P-XFR
	County: Blackhawk

	Facility Name: 
Cedar Valley Recycling and Transfer Co. 

Phone Number: 319-232-4150
	Facility Address:
1920 Water Street

Waterloo, IA 50703

     

	Responsible Official: 
Blane Benham
Phone Number: 319-232-4150
Person(s) Present:
1) Dena Smith 
	Mailing Address:
Cedar Valley Recycling and Transfer Co.
1920 Water Street

P.O. Box 2008 

Waterloo, IA 50703

	Date of This Inspection: 04/19/2022
	Date of Last Inspection: 03/07/2007


	Siting Requirements
	IAC 567 Chapter 106.9:  Transfer Station Siting & Location Requirements
	Yes
	No
	NA

	
	106.9(1)
	Is the transfer station building located within the 100-year floodplain?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.9(1)
	If yes, are there structures to prevent floodwater inundation from a 100-year 

flood of any area that comes into contact with solid waste or washwater?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.9(2)
	Is the transfer station building within 500 feet of an educational facility, healthcare facility, or permanent residence? 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.9(2)
	If yes, did construction of the educational facility, or healthcare facility, or 

permanent residence begin before the permit application was received by the 

Department?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.9(2)
	If yes, does the transfer station utilize screening to minimize noise and 

visibility of operations? (Note: Screening shall utilize natural components to the maximum  

extent possible)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments:     
	Transfer Station Design
	IAC 567 Chapter 106.10(1):  Transfer Station Design Standards
	Yes
	No
	NA

	
	106.10(1)
	Is the transfer station building sufficient to allow all solid waste to be unloaded from collection vehicles and loaded into transport vehicles indoors? (Note: Rear-loading solid waste transport vehicles that have no other opening and that securely abut the building so that minimal amounts of solid waste escape qualify as being inside the building)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“a”
	Is the building sufficient to minimize dust and litter exiting the building?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“a”
	Is the building sufficient to keep out precipitation?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“a”
	Is the building sufficient to prevent the attraction or harboring of vectors?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“b”
	Are all surfaces that come in contact with solid waste or washwater impervious to liquids?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“c”
	Does the transfer station building have a drainage system that maintains a separation between stormwater and washwater?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: None of the large roll up doors were operational. The tracks had been damaged over the years by drivers backing in to the bays and the tracks haven’t been repaired/replaced. 
	Transfer Station Design
	IAC 567 Chapter 106.10(1):  Transfer Station Design Standards  (Cont’d)
	Yes
	No
	NA

	
	106.10(1)“d”
	Does the transfer station building have a washwater collection system that directs washwater to a storage tank for later disposal, a sanitary sewer system, or equivalent as approved by the Department?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“d”
	If a storage tank(s) is used, does it have a high-level indicator or gauge? 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“e”
	Does the transfer station store solid waste during non-operating hours?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“e”
	If yes, is the solid waste storage area clearly marked? 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“e”
	If yes, does the solid waste storage area have a fire detection system?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“f”
	Does the transfer station building have a surge pit to handle large volumes of incoming waste? (Note: Surge pits are typically found in large transfer stations where a large number of trucks can overload the tipping floor.  Surge pits provide more space for temporary storage during peak operating hours and may also allow for additional compaction of the solid waste before it is loaded into transport vehicles)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“f”
	If yes, does the transfer station building have an effective odor control 

mechanism? (i.e. mist systems and air filters) 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“g”
	If yes, does the transfer station building have a sprinkler system installed 

over the area where solid waste is stored? 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“h”
	If the transfer station salvages materials, are the salvage storage areas clearly marked? (Note: Salvaged materials that do not attract or harbor vectors may be stored outside the building in clearly marked designated areas.)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“i”
	Is there sufficient indoor and outdoor lighting to minimize the difference in lighting when entering or exiting the building?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(1)“j”
	Does the transfer station building have doors at each entrance and exit?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: There is not a high-level indicator on the washwater storage tank. A-1 Septic routinely pumps the tank. This facility has a sprinkler system and fire extinguishers throughout the building but does not have fire detection where the waste is stored. Salvaging is not permitted.
	Transfer Station Design
	IAC 567 Chapter 106.10(2):  Other Transfer Station Design Standards
	Yes
	No
	NA

	
	106.10(2)“a”
	Does the transfer station have a secure perimeter fence w/lockable gate(s)?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(2)“b”
	Does the transfer station use an IDALS certified scale? (Note: The scale does not have to be onsite)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(2)“c”
	Does the transfer station have adequate queuing distance for vehicles entering and exiting such that lines do not extend onto public streets?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(2)“c”
	If no, does the transfer station have approval from the local government 

authority for lines to back-up onto public streets?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(2)“d”
	Does the transfer station have signs or pavement markings indicating safe and proper on-site traffic patterns?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.10(2)“e”
	Is there a sign at the primary entrance specifying: 

   1) Facility name and permit number, 

   2) Operating hours, 

   3) Materials accepted or stating “All materials must have prior approval”,

   4) Telephone number of emergency contact person(s)?
	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: This facility does not have lockable gates. They use orange snow fence to block the entrance when they are closed. Since this facility is not open to the public, traffic patterns are not an issue and there wasn’t any concern of people entering the facility illegally after hours. 
	Transfer Station Operating Requirements
	IAC 567 Chapter 106.11:  Transfer Station Operating Requirements
	Yes
	No
	NA

	
	106.11(1)
	Is site access controlled and limited to a time when a transfer station operator is on duty.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(1)“a”
	If yes, is the site operator on duty able to read, understand and implement 

the Site Operation Plan?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(1)“b”
	If yes, is the site operator on duty able to read, understand and implement 

the Emergency Response and Remedial Action Plan (ERRAP)?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(1)“c”
	If yes, is the site operator on duty able to visually recognize universal 

symbols, markings, and indications of unacceptable materials? (e.g. hot loads, 

hazardous, infectious and radioactive wastes)  
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(1)“d”
	Is the transfer station permitted for 20,000 tons or more per year of solid waste?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(1)“d”
	If yes, is the site operator on duty certified by a training program approved by the Department? (e.g. Solid Waste Association of North America’s Transfer Station Systems Training and Certification Course)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(2)
	Is solid waste only being accepted from generators within the designated service area?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(3)
	Are all unloading, handling, processing, screening, open storage, loading, and similar activities or processes involving solid waste being performed inside the transfer station building? (Note: Truck—to-truck transfer of solid waste that is not incidental solid waste transfer is not allowed outside a transfer station building. A rear-loading solid waste transport vehicle that does not have any other open access and securely abuts the transfer station building so that minimal amounts of solid waste escape during loading shall qualify as being inside the building. Salvaged materials that do not attract or harbor vectors may be stored outside of the building in clearly marked, designated areas.)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(4)
	Is the solid waste being at least visually screened by personnel capable of identifying hot loads and hazardous, infectious, radioactive, and other wastes not suitable for disposal in a sanitary landfill?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(5)
	Are transfer station operators segregating and managing unacceptable wastes and hot loads in accordance with applicable laws and in a manner as safe and responsible as practical? 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(6)
	Is salvaging only being performed by transfer station operators? (Note: Scavenging shall not be allowed.)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(7)
	Is the operation of the facility being carried out in a manner that attempts to minimize litter, dust, odor, noise, vibration, and the attraction or harborage of vectors?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(8)
	Is the transfer station building being maintained at a level of cleanliness necessary to prevent a nuisance or public health hazard?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(9)
	Is on-site litter being maintained at a level of cleanliness to prevent a nuisance or public health hazard? (Note: Off-site litter shall be collected daily.)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(10)
	Is the exterior of all buildings being maintained in a reasonable aesthetic condition that prevents the attraction or harborage of vectors, so as not to create a nuisance or public health hazard?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(11)
	Is the washwater management system being inspected monthly and maintained in proper operating condition to prevent overflowing?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(12)
	Are all surfaces that prevent washwater from entering the ground and groundwater impervious?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(12)
	If no, was the breach noted above fixed within 24 hours, or has the 

facility prevented any solid waste or washwater from coming into contact 

with the breached area until repaired?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.11(13)
	Has the transfer station made adequate provisions for routine operational maintenance of the facility?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Blane Benham and Mark Lawson have both attended a DNR approved transfer station operating course, but they are not always on site. All unloading and processing of material is done inside the facility. If the facility fills to capacity all trucks are stopped until they catch up. Every load is screened and any unacceptable waste is removed and disposed of properly. Areas around the facility that accumulate litter are cleaned/picked up daily.
	Temporary Solid Waste Storage
	IAC 567 Chapter 106.12:  Temporary Solid Waste Storage at Transfer Stations 
	Yes
	No
	NA

	
	106.12(1)
	If solid waste is stored at the transfer station, is it stored:

   1) Inside the transfer station in a clearly marked, designated area; or

   2) Inside the transfer station building in a surge pit; or  

   3) Inside a secure solid waste transport vehicle, protected from   

       precipitation and vectors?
	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.12(2)“a”
	If solid waste is being stored inside the transfer station in a designated area that is not a surge pit or similar operational structure, is it being stored for not more than 48 hours, excluding Sundays and national holidays?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.12(2)“b”
	If solid waste is being stored inside the transfer station building in a surge pit, is it being stored for not more than seven days, including Sundays and national holidays?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.12(2)“c”
	If solid waste is being stored in a transport vehicle designated to travel only via roadway, is it being stored for not more than 48 hours, excluding Sundays and national holidays?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.12(2)“d”
	If solid waste is being stored in a transport vehicle designated to travel via rail or navigable waterway, including intermodal container systems, is it being stored for not more than seven days, including Sundays and national holidays?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: As this facility is always receiving, process and transporting waste they are never empty. All waste material is stored in large bays while waiting to be processed. Trucks never store waste for more than a day or 2 before they leave the facility.
	Record-Keeping Requirements
	IAC 567 Chapter 106.13:  Transfer Station Record-Keeping Requirements
	Yes
	No
	NA

	
	106.13(1)“a”
	Is a copy of the current permit(s) on site?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(1)“b”
	Is a copy of the current Site Operation Plan onsite?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(1)“c”
	Is a copy of the current Emergency Response and Remedial Action Plan (ERRAP) onsite?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(1)“d”
	Is proof of current financial assurance on file?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(2)“a”
	Are three years of records being maintained by the transfer station with regard to the tons of all solid waste disposed of quarterly?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(2)“b”
	Are three years of records being maintained by the transfer station with regard to the destination of all outgoing solid waste?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(2)“c”
	Are three years of records being maintained by the transfer station with regard to the washwater management system inspection log?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(2)“d”
	Are three years of records being maintained by the transfer station with regard to hot loads and hazardous, infectious, radioactive, or other unacceptable wastes found?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.13(2)“e”
	Are three years of records being maintained by the transfer station with regard to training received by transfer station operator(s) pursuant to 106.11(1).?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: This facility tracks the tonnage of outgoing waste monthly. They do not track hazardous/unacceptable waste brought in. Since this facility processes its own waste, any hazardous or unacceptable waste is removed and properly disposed of. Every new hire/operator is initially trained and continuous training is used as needed (new equipment, 1 on 1, etc.). It was suggested that their new hire training videos need to be updated to reflect the changes in technology since the videos were created. 
	Reporting Requirements
	IAC 567 Chapter 106.14:  Transfer Station Reporting Requirements 
	Yes
	No
	NA

	
	106.14(1)
	Is the transfer station submitting quarterly tonnage reports to the Department that include:

   1) Tons of solid waste disposed of;

   2) Comprehensive planning area from which the solid waste originated,  

       and the tons of solid waste from each county and comprehensive  

       planning area; and 

   3) Destinations of all outgoing solid waste?
	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.14(2)
	Is the transfer station being inspected annually by an Iowa-licensed professional engineer for compliance with IAC 567 Chapter 106.10 and submitting said annual inspection report to the Department and Field Office by the first workday in November each year?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: HLW Engineering conducts the annual inspections of this facility and has submitted their findings to the DNR as required.
	Transport Vehicles
	IAC 567 Chapter 106.15:  Transport Vehicle Construction & Maintenance
	Yes
	No
	NA

	
	106.15(1)
	Is the portion of the solid waste transport vehicle(s) that contains solid waste sufficient to:

   1) Prevent the accidental discharge of its contents;

   2) Prevent the attraction or harborage of vectors; and   

   3) Prevent the infiltration of precipitation?

(Note: Any solid waste transport vehicle that fails to meet the requirements of IAC 567 Chapter 106.15 shall be repaired before it is utilized in the transport or storage of solid waste.)
	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 

 FORMCHECKBOX 

 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.15(1)
	If the solid waste transport vehicle(s) has an open-top, does it have a suitable cover that is not easily torn, shredded, broken, or otherwise breached under normal use?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.15(3)
	Is the transport vehicle(s) being cleaned at intervals frequent enough to prevent a nuisance or vector attraction?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.15(4)
	Is wastewater generated from any cleaning of the areas of the solid waste transport vehicle(s) that hold solid waste being managed as washwater?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: This facility does not utilize open top transport vehicles.
	Transport Vehicle 
	IAC 567 Chapter 106.16:  Solid Waste Transport Vehicle Operation Requirements
	Yes
	No
	NA

	
	106.16(1)
	Are the solid waste transport vehicle’s openings securely closed before transport and during solid waste storage so as to prevent the loss of solid waste?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.16(2)
	Is solid waste being loaded into the solid waste transport vehicle inside the transfer station building and in a manner that minimizes the spilling of materials? (Note: Truck—to-truck transfer of solid waste that is not incidental solid waste transfer is not allowed outside a transfer station building. A rear-loading solid waste transport vehicle that does not have any other open access and securely abuts the transfer station building so that minimal amounts of solid waste escape during loading shall qualify as being inside the building.)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.16(2)
	If solid waste is spilled from a solid waste transport vehicle during loading, is it collected as often as necessary to minimize litter, dust, or other fugitive debris?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	106.16(3)
	If solid waste was spilled from a solid waste transport vehicle not on transfer station property, was the solid waste collected as soon as possible and was the spill immediately reported to the Department and the Field Office with jurisdiction?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Trucks are loaded inside and any debris spilled is cleaned up right away. This facility has not had/reported a spill off their property.
	Other Materials Accepted/Activities On-Site

	Recyclables Drop-Off  (paper, plastic)
	 FORMCHECKBOX 

	Appliance Demanufacturing
	 FORMCHECKBOX 


	Lead Acid Batteries
	 FORMCHECKBOX 

	Electronics Demanufacturing
	 FORMCHECKBOX 


	Used Oil
	 FORMCHECKBOX 

	Yard Waste Collection
	 FORMCHECKBOX 


	Antifreeze
	 FORMCHECKBOX 

	Yard Waste Composting
	 FORMCHECKBOX 


	Tires
	 FORMCHECKBOX 

	HHM/RCC
	 FORMCHECKBOX 


	Brown Goods Collection
	 FORMCHECKBOX 

	Other: 

	Cathode Ray Tube Collection
	 FORMCHECKBOX 

	

	White Goods Collection
	 FORMCHECKBOX 

	

	Scrap Metal Salvaging
	 FORMCHECKBOX 

	


*Be advised your facility may require, due to either SIC code or onsite management practices, an NPDES General Permit #1 (Stormwater permit).
Comments: None of the listed materials in this section are accepted.
	Summary of Requirements:
	Compliance Date:

	Install fire detection in area where waste is stored (smoke detectors etc.)
	Immediately

	Install a lockable gate to deter people from entering your facility after hours.


	June 1 2022

	Summary of Recommendations:

	Fix roll up door tracks to minimize waste escaping the facility and protecting workers during inclimate weather.

Send more employees through the DNR approved transfer station operator course so there is a trained/certified operator on site at all times. 


	Inspector: Jason Gearhart
Date: 04/22/2022

	Reviewer: Tom McCarthy
Date: 04/22/2022


FIELD OFFICE 1, 1101 Commercial Ct Ste 10, MANCHESTER IA 52057
Phone: 563-927-2640

www.iowadnr.gov 
    
Fax: 563-927-2075
IDNR TRANSFER STATION (XFR) PERMIT INSPECTION 



IAC 567 Chapter 106. Iowa Code Chapters 455B & 455D.




