[image: image1.jpg]Fields of Opportunities S TAT E O F | O WA

CHESTER J. CULVER, GOVERNOR DEPARTMENT OF NATURAL RESOURCES
PATTY JUDGE, LT. GOVERNOR RICHARD A. LEOPOLD, DIRECTOR







[image: image2.png]



June 9, 2009
Gubbels One Hour Heating & Air Conditioning
1717 Falls Avenue

Waterloo, IA 50701

RE: Appliance Demanufacturing permit renewal Inspection

       Facility No. 07-ADP-01-03
We have enclosed the inspection report prepared by Amber Sauser of this office.  

You will find the inspection report self-explanatory.  Please refer to the requirements section of this report.  All the requirements must be addressed and a follow up inspection scheduled prior to permit renewal.  We encourage you to make every effort to comply with the recommendations.

Should you have any questions please contact Amber Sauser at 563-927-2640.  

Sincerely,

ENVIRONMENTAL SERVICES DIVISION

Doug Hawker
Environmental Specialist Senior
cc:  DNR – Solid Waste Section – Susan Johnson - Des Moines

         E File – 07 SW Gubbels One Hour Heating & Air Cond. ins 060209 als 


         File -SW/ADP/BH/Gubbels
IOWA DEPARTMENT OF NATURAL RESOURCES

APPLIANCE DEMANUFACTURING (ADP) PERMIT INSPECTION FORM
	Permit No.: 07-ADP-01-03
	County: Black Hawk

	Facility Name: Gubbels One Hour Heating & Air Conditioning
Phone Number: 319/287-9196 
	Facility Address:

1717 Falls Avenue
Waterloo, IA 50701

	Responsible Official: John Henderson
Phone Number: 319/287-9196 ext. 14
Person(s) Present:

1) John Henderson

	Mailing Address:

1717 Falls Avenue
Waterloo, IA 50701

	Date of This Inspection:6/2/2009
	Date of Last Inspection:6/13/2003


*Be advised your facility may require, due to either SIC code or onsite management practices, an NPDES General Permit #1 (Stormwater permit).
	Storage & Handling
	IAC 567 Chapter 118.4:  Appliance Storage & Handling Prior to Demanufacturing
	Yes
	No
	NA

	
	118.4(1)
	Are appliances being stored to prevent capacitors, refrigerant lines,  compressors, and components containing mercury from being damaged and allowing a release into the environment?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.4(2)
	Are appliances being handled in a way which prevents damage, cuts, or breaks in refrigerant lines, compressors, capacitors and components containing mercury from being damaged and allowing a release into the environment?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.4(3)
	Are less than 1,000 appliances being stored prior to demanufacturing?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.4(4)
	Are appliances being demanufactured in 270 days or less?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Appliance storage is adequate
	Fixed & Mobile Operations
	IAC 567 Chapter 118.7:  Fixed Facility & Mobile Operations
	Yes
	No
	NA

	
	118.7(1)
	Is demanufacturing taking place on an impervious floor (including but not limited to concrete, ceramic tile, or metal)?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.7(2)
	Is the point of demanufacturing located 50 feet or more from a well and any water of the state?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.7(5)
	Is a unique marking system (minimum of nine inches square) being applied to the appliances after demanufacturing?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	IAC 567 Chapter 64.4:  Issuance of NPDES Permits  
	Yes
	No
	NA

	
	64.4(2)
	Is a copy of the Stormwater Discharge permit available if the facility is storing/processing appliances outside?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	64.4(2)
	Has the facility developed and implemented a Stormwater Pollution Prevention Plan?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: 
	Training
	IAC 567 Chapter 118.8:  Training
	Yes
	No
	NA

	
	118.8
	Is at least one owner or employee completed a Department-approved training course?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.8
	Is one trained person on site at all times when appliances are being demanufactured?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Mike Ash has completed the training course for this facility.  He is on site at all times during demanufacturing.
	Refrigerant Recovery
	IAC 567 Chapter 118.6:  Permit Application Requirements
	Yes
	No
	NA

	
	118.6(8)
	Is a copy of the EPA Refrigerant Recovery or Recycling Devise Acquisition Certification available onsite?  
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	608 CAA (CFR)
	Is a copy of the EPA Refrigerant Reclaimer’s Certification available onsite if reclamation (purification) is taking place at the facility?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	IAC 567 Chapter 118.9:  Refrigerant Removal Requirements
	Yes
	No
	NA

	
	118.9(2)
	If refrigerant is removed at a location other than a permitted ADP facility, is there documentation that it was removed by a service or repair facility certified for the removal of refrigerant?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.9(3)
	Is removal of refrigerant being done in an area where the temperature of the surrounding air and that of the appliance being demanufactured is 45 degrees Fahrenheit or greater?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	IAC 567 Chapter 118.13:  Record Keeping & Reporting
	Yes
	No
	NA

	
	118.13(2)“a”

&

118.13(2)“g”
	Are the number and type of refrigerant containing appliances being tracked, as well as the amount of refrigerant removed?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(3)“a”
	Are bills of lading being kept as to where refrigerants are being shipped for disposal?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Refrigerant is removed in the field and all field staff are certified to remove refrigerant.  This facility only demanufactures those appliances which they replace.  Staff must ensure that any appliance that does not require removal in the field is done in an area where the temperature is at least 45 degrees or higher.
Invoices are kept for all mercury and refrigerant shipped for disposal.
It’s anticipated that this facility will come across appliances where the refrigerant has escaped for various reasons.  Records must be maintained showing that appliances did not have refrigerant prior to demanufacturing.  
	Oil
	IAC 567 Chapter 118.9:  Refrigerant Removal Requirements
	Yes
	No
	NA

	
	118.9(5)
	If compressor oil is being removed from the refrigeration units, is it being stored in accordance with 567-119.5 (Note:  AST must be large enough and on an impermeable surface to prevent spills, meet API construction standards, have absorbent material available, have a gauge to monitor liquid level, & meet Ch. 567-135 &136 if UST)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments:     
	Ammonia Gas Refrigerant
	IAC 567 Chapter 118.9:  Refrigerant Removal Requirements
	Yes
	No
	NA

	
	118.9(6)“a”
	Is the ammonia gas being vented into water and is the resulting wastewater being properly disposed of?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.9(6)“e”
	Is sodium chromate being properly stored in DOT-approved containers labeled with a proper EPA-approved chromium label stating “chromium” or “hazardous waste”?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.9(6)“g”
	Does the facility have an EPA ID number (RCRA)?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.9(6)“h” & 

 118.9(6)“i”
	Is asbestos insulation being removed and handled properly?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	IAC 567 Chapter 118.13:  Record Keeping & Reporting
	Yes
	No
	NA

	
	118.13(2)“a”(2)
	Are records being kept on the number of sodium chromate–containing appliances being demanufactured
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(2)“f”
	Are records being kept on the number of sodium chromate–containing   appliances shipped to another demanufacturer
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(3)“a” &

118.13(3)“b”
	Are records being kept on the shipment of sodium chromate (name of the facility to which sodium chromate was shipped, the date of each shipment, the amount shipped and the name and address of the transporter)?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: This facility does not accept for demanufacturing ammonia appliances.  The renewed permit should reflect this.
	Mercury Components
	IAC 567 Chapter 118.10:  Mercury-Containing Component Removal & Disposal
	Yes
	No
	NA

	
	118.10(1)
	Are all components containing mercury being removed?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.10(2)
	Are mercury components being stored in containers with a proper EPA-approved label stating “Universal Waste-Mercury Containing Equipment”, or Waste Mercury-Containing Equipment” in both English and the predominant language of any non-English-reading workers?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.10(3)
	Is the date when the first mercury-containing component was placed in the container affixed to the container?  
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.10(4)
	Storage of mercury is limited to one year, after which, it must be transported to an EPA-approved recycler/recovery facility. Has storage been under one year?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.10(8)
	Are fluorescent tubes, lamps, bulbs, etc., being placed in a container and packaged to prevent breakage to an EPA-approved recycler?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	IAC 567 Chapter 118.13:  Record Keeping & Reporting
	Yes
	No
	NA

	
	118.13(2)
	Are records being kept on the number of mercury-containing appliances being demanufactured, number of mercury switches removed, number of fluorescent tubes removed, as well as the number of mercury thermocouples being removed?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(3)
	Are records or bills of ladings being kept on the shipment of mercury-containing components?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Invoices are maintained for all mercury shipments.
Mercury components are being held in a cracked plastic container.  While the size of and label on the container is adequate, it is recommended that a new structurally sound container be purchased.  
This facility is reminded to keep the date that the first component was placed in the container on the label.  It is further recommended that a “ship by” date be placed on the container as a reminder.
	PCB Capacitors
	IAC 567 Chapter 118.11:  Capacitor Removal Requirements
	Yes
	No
	NA

	
	118.11(4)“a”
	Does the facility have an EPA TSCA ID number for capacitor storage (required if facility has no RCRA ID #)?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.11(4)“b”
	Are PCB items being stored in a manner that provides adequate protection from the elements and adequate secondary containment?  (Note: Storage must take place on an impervious material above the 100-year floodwater elevation)
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.11(4)“c”
	Is the point of demanufacturing located above the 100-year flood water elevation?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.11(4)“d”
	Are PCB storage containers filled to two inches of absorbent material in the bottom?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.11(4)“e”
	Are PCB containers DOT-approved and labeled with a 6” by 6” yellow label stating “PCBs” as described in CFR part 761.45?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.11(4)“g”
	Is the storage for non leaking small PCB capacitors that do not comply with the requirements in 118.11(4) “a” to “f”  stored for less than 30 days from the date of removal and a notation places on the PCB capacitor indicating the date the item was removed from the appliance?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.11(4)“f” &

 118.11(4)“h”
	Is the date when the first capacitor was placed in the storage container on the label?  Storage of capacitors is limited to 270 days, after which they must be transported to an EPA-approved landfill or incinerator.  This burial or incineration must be documented (within one year of the date on the container) and this record kept by the demanufacturer for three years from the date the PCB waste was accepted by the initial transporter.
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	IAC 567 Chapter 118.13:  Record Keeping & Reporting
	Yes
	No
	NA

	
	118.13(2)
	Are records being kept on the number of PCB containing appliances being demanufactured, number of PCB capacitors and ballasts as well as the date the first PCB-containing item was placed in the storage drum that is in use on December 31? number of mercury thermocouples being removed? 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(3)“a” &

118.13(3)“b”
	Are records being kept on the shipment of PCB components, and the documentation of destruction or receipt from a regional collection center for all PCB materials shipped?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(3)“d”
	Are records being kept documenting inspections of the PCB storage area as required by 118.11(4)”h”?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: The PCB components should be shipped as soon as possible to keep within the 270 day limit.  In addition is recommended that the “ship by” date be placed on the label as a reminder. 
All required records were on site.
	Spills
	IAC 567 Chapter 118.12:  Spills
	Yes
	No
	NA

	
	118.12(1)
	Are spill records being kept and has the facility reported spills that resulted in a hazardous condition?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.12(2)
	Is a mercury spill kit on hand?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Spill protocol is well known.
	Reporting
	IAC 567 Chapter 118.13.  Record Keeping & Reporting
	Yes
	No
	NA

	
	118.13(2)
	Are records being kept on appliances demanufactured in separate categories, as well as the number of each component, amount of refrigerant, etc?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(3)
	Are records being kept on all hazardous waste manifest and bills of lading for shipments of refrigerant, mercury switches, PCB-containing material, and kept on site for a minimum of three years?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.13(3)“f”
	Are copies of annual reports (containing all the record keeping requirements) that have been sent to the Department Central Office being retained for at least three years?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments: Records are well maintained.  Only invoices are kept for mercury and refrigerant shipments. 
	Processing
	IAC 567 Chapter 118.15:  Shredding of Appliances
	Yes
	No
	NA

	
	118.15(1)
	Has fluff from shredding been tested at least quarterly for PCBs, and TCLP for heavy metals?  Have these results being sent to the department within 30 days of the end of each quarter?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.15(1)
	Have the results from fluff testing been submitted to the department within 30 days of the end of each quarter?  And are these records being kept on site for a minimum of three years?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.15(3)
	Are appliances being demanufactured before shredding or processing?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 


	
	118.15(3)
	If appliances are being accepted from demanufacturers for recycle/disposal, have the appliances been demanufactured in accordance with Federal regulations and state laws from which the appliances were received?
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 



Comments:     
	Summary of Requirements:
	Compliance Date:

	1) Ensure PCB capacitors are shipped within the 270 day time limit
	     

	2) Place the date the first component was placed into the mercury container on the label
	     


	Summary of Reminders:

	1) Ensure mercury components are shipped within the one year time limit

	2) Replace the cracked plastic tote used for mercury storage

	3) Record appliances that are received with refrigerant already removed

	4)     

	5)     


	Summary of Recommendations:

	1) Place a “shipped by” date on the PCB and mercury storage containers

	2)     


	Inspector:     
Date:     

	Reviewer:     
Date:      


Facility Photographs (if applicable)

	
	

	
	

	
	


IDNR APPLIANCE DEMANUFACTURING (ADP) PERMIT INSPECTION 

Page 1 of 6

IAC 567 Chapter 118. Iowa Code Chapters 455B & 455D.


Revised 12/3/2007
IDNR APPLIANCE DEMANUFACTURING (ADP) PERMIT INSPECTION 

Page 3 of 6

IAC 567 Chapter 118. Iowa Code Chapters 455B & 455D.


Revised 12/3/2007

