IOWA DEPARTMENT OF NATURAL RESOURCES

Field Office #1

1101 Commercial Court, Suite 10, Manchester, IA  52057

563/ 927-2640 (ph.)     563/927-2075 (fax)

Closed Coal Combustion Residue Ash Pond Visit

Permit # 07-SDP-19-98

Site: MidAmerican – Maynard Station CCR                                   Weather Conditions: Clear / 78°F

Person Present: Josh Love (712-277-6367c)                                  Date This Visit: 08/16/2022

N/A = not applicable or observed.

Observations:

Yes    No    N/A    	Item

1.  Erosion

2.  Significant Leachate Seeps

3.  Inadequate Vegetative Cover

__________________________________________

Yes    No    N/A	Item

4.  Ponding, Poor Grading

5.  Other -

6.  Follow-up Visit Needed?

__________________________________________

Comments:  Access to the area is restricted and the area is fenced with a locked gate.  The closed fly ash pond is well graded and vegetated.  The area is routinely mowed and I did not observe any trees or woody vegetation. There is one small area where erosion has occurred in the past, in the southwest corner, where all the water from the site leaves and enters a box culvert.  MidAmerican staff have made efforts to mitigate the erosion and they have been very effective at stabilizing this area.  Mr. Love informed me that there has been some internal discussion about excavating all of the fly ash and taking it to the Black Hawk County Landfill in order to make the area a storm water retention basin.  He has been in contact with the DNR Solid Waste Section staff and this concept is in preliminary stages.

AUTHENTICATION

| INSPECTOR | NAME/TITLE: CHAD KEHRLI, Environmental Specialist | DATE: 08/17/22 |
| --- | --- | --- |

CC: DNR SW Section

Efile: 07 SW MidAmerican Maynard Station CCR closed ash pond 081622 visit cek