December 15, 2015

John Foster, Agency Administrator

925 Kerper Court

Dubuque, IA 52001

Dear John:

Enclosed is a copy of the inspection report regarding my December 9, 2015 inspection of the Household Hazardous Materials RCC building located at the Dubuque Metropolitan Sanitary Landfill.

The report should be self explanatory.  You are encouraged to follow the recommendations as specified in the text of the report.

Please note that during this inspection a violation of IAC 567—123.8(6) regarding the need to have the floor areas of the building to be coated with an impervious, smooth material was noted.

As outlined in the report, it is required that you cease using this building for the collection, sorting, and storing of hazardous material until such time that the building is brought into compliance with IAC 567—123.8(6).

It is also required that you develop a plan of action to bring the building into full compliance (or possibly to construct a better, more appropriate RCC building) and that you submit this plan of action with an appropriate time schedule to my office by February 15, 2016.

Sincerely,

ENVIRONMENTAL SERVICES DIVISION

Doug A. Hawker

Environmental Specialist Senior – DNR FO #1

Cc: Kathleen Hennings – DNR Des Moines

g: 31 SW DMSL 31SDP0796 120915 cov dah