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April 19, 2022
ATTN: KEN MILLER
DUBUQUE METRO AREA SOLID WASTE AGENCY
925 KERPER COURT
DUBUQUE, IOWA 52001-2405
SUBJECT:  NOTICE OF VIOLATION- 567 IAC 113.8 (f) Litter Control
                   Compliance Evaluation Inspection:  Permit No. 31-SDP-02-75P
Dear Mr. Miller:
        

Enclosed you will find a copy of the Sanitary Disposal Project Inspection report conducted at the Dubuque County Sanitary Landfill on April 14, 2022 by Jason Gearhart of the Field Office #1 staff

We believe you will find the report self-explanatory and strongly encourage you to take action on the requirements and/or recommendations listed at the end of the report. 

If you have any questions about the inspection or report, please contact me at 563-927-2640 ext. 304 or jason.gearhart@dnr.iowa.gov. 
Sincerely,
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Jason Gearhart • Environmental Specialist
Field Office 1
Iowa Department of Natural Resources
o 563-927-2640 ext. 304 c 563-920-1840
1101 Commercial Court, Suite 10, Manchester, IA 52057
c: DNR Solid Waste section, Becky Jolly (e-mail)
Efile: 31 SW Dubuque Co Landfill 04142022 nins jag


	


	

	

	


FIELD OFFICE 1, 1101 Commercial Ct. STE 10, MANCHESTER IA 52057

Phone: 563-927-2640
www.iowadnr.gov 
Fax: 563-927-2075
	IOWA DEPARTMENT OF NATURAL RESOURCES

Sanitary Disposal Project Inspection

	Permit #:  31-SDP-02-75P
	Page 1

	Facility Name:
	Dubuque County Sanitary Landfill
	Responsible Official:
	Ken Miller, Administrator

	County:
	Dubuque
	Address:
	925 Kerper Court, Dubuque, Iowa 52001-2405

	Facility Operator:
	Joe Mayne
	Phone: 
	563/557-8220

	Address:
	14501 Hwy 20 West Dubuque, Iowa 52102
	Date Last Inspection:
	12/05/2019

	Phone
	563/557-8220
	Date This Inspection:
	 04/14/2022

	

	At the Time of this Inspection:

	· facility personnel present: 
	Doug Hughes, Ken Miller 
	· surface conditions: 
	Dry

	· active unit(s):
	Cell 9
	· ambient temperature: 
	36° F

	
	· wind direction and speed:
	SW 31-48 mph

	
	
	

	Yes – compliance was being achieved; No – compliance was not being achieved,

N/A – not applicable or not observed; PND – previously noted deficiency (PND).

	

	I. Documents and Record Keeping:

	Yes
	No
	N/A
	PND
	Item
	
	Yes
	No
	N/A
	PND
	Item

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. Permit/Amendment documents
	 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. Financial assurance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Site exploration report
	 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	10. Storm water permit

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. Plans/Specs and QC&A Reports
	 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	11. SWA/SWAC documentation

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	4. Waste screening inspection records
	 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	12. Operator Certification

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	5. Leachate recirculation authorization
	 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	13. DOPs

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	6. Gas monitoring/remediation results
	 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	14. ERRAP

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7. Groundwater monitoring results
	 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	15. Other

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Closure/Postclosure plans/results
	
	

	

	II. Operating Procedures:

	Yes
	No
	N/A
	PND
	Item
	
	Yes
	No
	N/A
	PND
	Item

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1.  All weather access road to facility
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	10. Scavenging and Salvaging

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Controlled Access at facility
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. scavenging prohibited

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. fencing or other perimeter barriers
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. salvaging authorized

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. entrance gate with lock
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. salvaged material orderly

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. safe/proper on-site traffic patterns
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. salvage removal adequate

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. Signage
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	11. Animal feeding and grazing

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. facility name and permit number
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. animal feeding prohibited

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. days and hours of operation
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. grazing on final cover limited

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. wastes accepted/not accepted
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	12. Survey controls and monuments

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. telephone # of resp. official
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. facility and waste boundaries surveyed and marked

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	4. All weather access road in facility
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. survey monuments established

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	5. Adequate vehicle queuing
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. stakes clearly marked

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	6. Certified scale used
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	13. Fill Sequencing

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7. Waste Screening
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. liner system protected

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. random inspections performed
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. slope failure controlled

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. inspection records
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. differential settlement controlled

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. trained personnel
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. run-on and runoff controlled

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. EPA notification procedures
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	14. Control of Workface

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Prohibited materials listing
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. size of area controlled

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. Open Burning and Fire Hazards
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. slope is stable

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. open burning prohibited
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. litter control devices used

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. vehicle fueling prohibited within 50 feet of workface
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. vectors controlled

	
	
	
	
	
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	e. operator at workface

	
	
	
	
	
	
	
	
	
	
	


	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	15. Special Waste Handling
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	23. Run-on/Runoff Control Systems

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. operator familiar with SWAC
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. ponding controlled

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	16. Waste Fill Cover
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. dikes, ditches, berms & terraces intact

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. daily cover adequate
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. tile lines maintained

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. alternative cover authorized
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	24. Landfill Equipment

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. scarification of daily cover
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. working properly

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. intermediate cover adequate (30/180 day)
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. backup equipment available

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	e. final cover maintained
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	25. Groundwater Monitoring Wells

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	17. Leachate seeps
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. wells intact

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. seeps identified and controlled
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. caps and locks

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	18. Leachate recirculation
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	26. Gas Monitoring Wells/Points

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. composite liner
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	27. Emergency Procedures

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. RD&D authorization
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. ERRAP available to staff

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. personnel protected
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. emergency numbers posted

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. erosion controlled
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	28. Final Cover System

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	e. vegetation maintained
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. final cover over completed areas

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	19. Site Litter Control
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. seeded

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. on-site litter picked up daily
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. vegetation established

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. offsite litter picked up daily
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. run-on, runoff, and ponding controlled

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. record of why litter not picked up
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	e. differential settlement controlled

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	20. Dust Control
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	29. Other

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. dust controlled as vehicles enter/exit facility
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. dust controlled on internal roads
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. dust controlled at the workface
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	21. Mud Control
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. mud controlled as vehicles enter/exit facility
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	22. Leachate Control and Treatment
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. system operational
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. head measurement device
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. seeps controlled
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. leachate tank maintained
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	e. leachate lagoon maintained
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	f. POTW agreement
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	g. sanitary sewer discharge 
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	h. NPDES discharge permit
	
	

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	i. NPDES on-site treatment
	
	

	Comments:
     

	AUTHENTICATION

	INSPECTOR
	Jason Gearhart, Environmental Specialist         [image: image4.jpg]



	Date:
     4/18/2022

	REVIEWER
	Tom McCarthy, Environmental Specialist Senior[image: image5.jpg]



	Date:
           4/19/2022


General Description:  
On 04/14/2022, Tom McCarthy, FO1, and myself conducted a routine compliance evaluation inspection at the Dubuque County Sanitary Landfill and compost facility. Ken Miller and Doug Hughes accompanied me during the inspection. Mr. Hughes anticipates up to 180,000 tons of garbage will be added to cell #9 this year.   

The compost facility tracks compost coming into the facility by tonnage and leaving the facility by the cubic yard. The compost is offered for free for residents wanting 1 cubic yard or less as well as for sale for those needing larger quantities. T&W Grinding out of Delhi, IA is contracted to handle the composting. Animals are not composted (they’re buried in landfill). There are currently no Dubuque landfill operators certified by a department approved composting program. Mr. Miller stated the last class was cancelled and they would be sending operators to the next available class. The finished compost was well within the limits for allowable metal concentration. 
Record Keeping:
1. Permit application, permit renewal and permit modifications application materials pursuant to rule 113.5(455B).  [See 113.11 (1)“a”]:
2. The site exploration and characterization reports pursuant to subrule 113.6(4).  [See 113.11 (1)“b”]:
3. Design and construction plans and specifications, and related analyses and documents, pursuant to rule 113.7(455B).  The QC&A final reports, and related analyses and documents, pursuant to paragraph 113.7(6) “d”.  [See 113.11 (1)“c”]:
4. Inspection records, training procedures, and notification procedures required in rule 113.8(455B).  [See 113.11 (1)“d”]:
· It was reported that randomly generated inspections of incoming loads are not being conducted. Every load is inspected on the working face as the material is spread out. Operators are trained to recognize prohibited materials and if found the person(s) responsible are sent back to the working face to pick it up. Since they inspect every load and require violators to pick up prohibited items there are no inspection report for random inspections.
5. Any MSWLF unit design documentation for placement of leachate or gas condensate in an MSWLF unit as required under numbered paragraphs 113.8(1)“b”(3)“2” and “3”.  [See 113.11 (1)“e”]:
6. Gas monitoring results from monitoring and any remediation plans required by rule 113.9(455B).  [See 113.11 (1)“f”]: 
· Foth Engineering takes care of gas monitoring and remediation results.
7. Any demonstration, certification, finding, monitoring, testing, or analytical data required by rule 113.10(455B).   [See 113.11 (1)“g”]: 
· HDR Engineering handles the groundwater monitoring results 
8. Closure and postclosure care plans and any monitoring, testing, or analytical data as required by rules 113.12(455B) and 113.13(455B).  [See 113.11 (1)“h”]:
9. Any cost estimates and financial assurance documentation required by this chapter. [See 113.11 (1)“i” and 113.8(3)”j”]:
10. Storm water permit [See 64.3(455B)]:
11. Special Waste Authorizations and Special Waste Acceptance Criteria [See 109(455B)]:
· Special waste authorizations were available for inspection.  The landfill has authorization to accept special waste from 2 sources.
12. Operator certifications [See 113.8(6)]:

13. DOPs [See 113.8(455B)]:

14. ERRAP [See 113.8(5)]:

15. Other:

I. Operating Procedures: 
1. All-weather access roads to the facility [See 113.7(3) “a”]:

2. Controlled access into and within site [See 113.8(3) “a”]:



-Including a perimeter fence with a lockable gate(s) to help prevent unauthorized access 


[See 113.7(3) “b”]:



-Including signs or pavement markings clearly indicating safe and proper on-site traffic 


patterns.  [See 113.7(3) “e”]:
3. A sign at the entrance to the facility specifying:  [See 113.7(3) “c”]:


(1) Name and permit number of the facility:


(2) Days and hours that the facility is open to the public or a statement that the facility is not open to the public:


(3) A general list of materials that are not accepted:


(4) Telephone number of the official responsible for operation of the facility and the emergency contact person(s): 

· The sign had been knocked down. They are in the process of making a new one to put up.
4. All-weather access roads within the facility.  [See 113.7(3) “d” and 113.8(3)”c”]:

5. Adequate queuing distance for vehicles entering and exiting the property.  [See 113.7(3) “f”]:

6. A scale certified by the Iowa department of agriculture and land stewardship.  [See 113.7(3) “g” and 113.8(3)”b”]:

7. Waste screening for prohibited materials [See 113.8(1) “a”]:


(1) Random inspections of incoming load:


(2) Records of any inspections:


(3) Training of personnel to recognize prohibited wastes:


(4) Notification to EPA for hazardous wastes:
· Waste screening is being conducted on every load as it is spread on the working face. Operators are trained to recognize prohibited waste.
8. Prohibited materials list  [See 113.8(1) “b”]:
9. Open burning and fire hazards  [See 113.8(1) “c”]:
· Open burning is not allowed. The landfill has installed Flir and thermal cameras to monitor for heat signals on the working face as well as on hot loads coming into the landfill. It was estimated that the thermal cameras on the scale house had prevented 200+ hot loads from being incorporated in the working face and potentially starting fires.

10. Scavenging and salvaging [See 113.8(1) “d” and 113.8(3)”d”]:
· Scavenging and salvaging are not allowed.
11. Animal feeding and grazing [See 113.8(1) “e”]:
· Animal feeding/grazing is not allowed.
12. Survey controls and monuments [See 113.8(2) “a”]:
· Fencing and the road around the landfill mark the facility and waste boundaries. There were no survey stakes/markers visible during this inspection. 
13. Fill sequencing [See 113.8(2) “c”]: 

14. Working face controlled [See 113.8(2) “d”]:
· Sea gulls were not present on the day of the inspection. Staff continues to work on discouraging the birds.

15. Special Wastes Managed [See 113.8(2) “e”]:
· There are currently two Special Waste authorizations in place.
16. Cover/Alternative cover material adequate [See 113.8(2) “f”]: 
· Foundry sand from two sources and auto shredder fluff from one source is being used

as alternative cover.

17. Leachate seeps controlled [See 113.8(2) “g”]:

18. Leachate Recirculation in composite cell or with RD&D permit [See 113.8(2) “h”]:

19. Litter control [See 113.8(3) “f”]:
· The litter was out of hand during this inspection. Windblown litter was seen in the trees along the west side of HWY 20 as well as on the east side of HWY 20. There was litter all over the landfill property and in the catfish creek tributary. With sustained winds of 30-50 MPH litter was not being contained. It was discussed that 90% of their fencing had been removed due to local road project that is now completed. 22 foot high fencing with trash hooks will be installed along the north and east sides of cell 9 as well as 8 foot high fencing and new gates installed along the east side of the property by the end of April, 2022. I strongly recommend Implementing a wind policy to help make it easier for staff to manage litter buildup.  
20. Dust control [See 113.8(3) “g”]:
· Water is sprayed as needed to control dust.
21. Mud control [See 113.8(3) “h”]:

· Woodchips are used to control mud.
22. Leachate collection [See 113.7(5)”b”] and treatment [See 113.8(3) “i”]:

23. Run-on and Runoff Control Systems [See 113.7(8)]:
· Storm water basins are tested and dewatered in the fall.
24. Equipment for disposal operations [See 113.8(455B]:

25. Groundwater monitoring wells [See 113.10(2)]:
26. Gas monitoring wells/probes [See 113.9(2)]:  
27. Emergency procedures available to staff [See 113.8(5)]:

28. Final cover system control [See 113.12(455B)]:
29. Other:
SUMMARY OF REQUIREMENTS
· Pick up litter immediately. Start with litter that has escaped your property and work back in.

· Litter must be picked up daily. If for some reason it is unsafe to pick up litter (wind, storms, etc.) a dated record must be kept.

· Install landfill/compost signage that had been knocked down (even if temporary) until the new signage can be installed.
· Document location of survey markers or stakes and place in facility records.

SUMMARY OF RECOMMENDATION
· Implement a wind policy to prevent litter from escaping facility (Linn County SWA has one if you need a reference).
· Consider utilizing volunteer organizations to get the site cleaned up (scouts, adopt a highway, etc.).

· Have operator(s) attend department approved composting course.

· Continue to take action to eliminate potential vectors (seagulls) from the facility.
· Conduct random waste screenings and maintain records of the inspections.

· Continue to accept deer carcasses to help slow the spread of Chronic Wasting Disease. 
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