IOWA DEPARTMENT OF NATURAL RESOURCES

ENVIRONMENTAL SERVICES DIVISION

FIELD OFFICE 1, MANCHESTER
AFO SITE SURVEY REPORT

TO:
 FORMDROPDOWN 
, Water Quality Bureau, Wastewater Section, Environmental Services Division, DNR

Facility Name: Kenneth Moeller Dairy     Facility ID #: 66190     Facility Owner: Ken Moeller
Location: NW ¼ of NE 1/4, Section 35, Vernon Springs Township, Howard County, Iowa

Animal Species: Dairy  Expansion?  FORMDROPDOWN 
  
Animal Unit Capacity: 980, or 980,000 pounds
Manure Management Plan: Approval Date: 04/27/09 
Investigation Date: 04/27/09     Date Emailed to Central Office: 05/04/09
Persons Contacted: LaCinda Altman, Howard Co. Sanitarian; Ken Moeller, owner
	TABLE  FORMDROPDOWN 

STRUCTURE SEPARATION DISTANCE REQUIREMENTS AND OBSERVATIONS (ft)

	Type of Structure

 (liquid, semi-liquid, 
 and dry manure storage)

 FORMDROPDOWN 

 (confinement buildings
 include covered formed

 manure storage structures)             
	Residences1, Churches, Schools, Businesses, Unincorporated & Incorporated Areas

Uninc. - Inc.
	Public Use Areas
	Major Water Sources2, Surface Intake, wellhead or cistern of Ag Drainage Wells, known Sinkholes
	Water Sources2
	Designated Wetlands
	Right-of-way of a
thoroughfare
maintained
by a political
subdivision

	REQUIREMENTS
	 FORMDROPDOWN 
 -      FORMDROPDOWN 

	    FORMDROPDOWN 

	  1000
	   500
	  2500
	  100

	OBSERVATIONS
	> 1000 - > 1250
	> 1250
	> 1000
	> 500
	> 2500
	> 100


1 Residences not owned by the owner of the animal feeding operation.
2 Excluding farm ponds, privately owned lakes, or when a secondary containment barrier (SCB) is provided.
	ALL ANIMAL FEEDING OPERATIONS

WELL SEPARATION DISTANCE REQUIREMENTS (REQ.) AND OBSERVATIONS (OBS.) (ft)

	Type of Structure
	Public well REQ.
	Public well OBS.
	Private well REQ.
	Private well OBS.

	
	Shallow
	Deep
	Shallow
	Deep
	Shallow
	Deep
	Shallow
	Deep

	
	
	
	
	
	
	
	
	

	 FORMDROPDOWN 

	200
	100
	> 200
	> 100
	200
	100
	> 200
	> 100


This proposed facility as submitted by the  FORMDROPDOWN 
  FORMDROPDOWN 
 with the siting requirements of Chapter 459 of the Code of Iowa and Chapter 567 IAC 65(459).  On-site observations and/or measurements  FORMDROPDOWN 
 compliance with the siting requirements for this proposed facility.  Possible sink hole north of Mr. Moeller’s home on 110th St. on aerial photo was deemed to not be a sink hole.  Sink hole west of Mr. Moeller’s new home on 110th St. is > 1,000 feet away.
Site passed Department Evaluation by FO1.
Note: If as built Construction Permit is required for the existing earthen basin, well separation distances may be an issue.  All homes with in ½ mile should be listed on the new separation distance map. 
     
SPECIALIST:
DATE: 03/25/09    REVIEWER:  
DATE:       

 FORMDROPDOWN 

 FORMDROPDOWN 

THIS REPORT IS FINAL AND HAS NOT BEEN ALTERED ELECTRONICALLY.
Rev. 10/09/07

