IOWA DEPARTMENT OF NATURAL RESOURCES

ENVIRONMENTAL SERVICES DIVISION

Field Office #1

909 West Main, Suite 4

Manchester, Iowa 52057

563-927-2640


DATE:    May 14, 2009    

TO:    Searryl’s Cave CAFO file – Jones County
         

FROM:     Doug A. Hawker  

SUBJECT: 
Jeb Supple’s possible CAFO near Searryl’s Cave



On April 7, 2009, I met DNR geologists Tom Marshall and Mike Bounk at the planned new confinement site near Searryl’s Cave in Jones County.  We met with owner Jeb Supple and with Bill Schueller of Schueller Construction Company.  The purpose of this visit was to observe a soil boring near the site of the proposed building.
Bill Schueller bored a hole approximately 28’ deep on this date about 10’ off of what would be the west corner of the planned building.  GSB personnel took soil samples throughout the boring.

No rock was encountered.  The material being bored through was primarily silty clay soils.  Pictures were taken to document conditions on this date.  It was decided that one deeper boring was more preferable to having a couple of shallower borings.

One the boring was completed and the samples obtained, Tom, Mike, and I walked to the Searryl’s Cave preserve and located the entrance to the cave.  We took GPS readings to properly map the location of the cave’s entrance.  

GSB staff will take the soil samples obtained from the bore hole back to their soil scientists in Iowa City for a more thorough analysis.

Both Mike and Tom noted that they are less concerned with building a new confinement at this site now that they have been on site and taken borings then they were before.

As of the date of this site visit, no paperwork had yet been submitted to FO 1 for the planned new building.

G: 53 AFO Cascade Searrylscavesite 040709 mem dah 
