Iowa Department of Natural Resources

Sanitary Disposal Project
New Cell Inspection Checklist

	Permit Number – 57-SDP-01—7P
	Inspection Date – July 15, 2010

	Facility Name – CRLCSWA Site #2
	Weather Conditions – Sunny, hot, dry

	Landfill Contact Person -  Karmin McShane, Floyde Pelke, John Foster, Brian Harthun (Foth Engineers)
	Cell/Phase Reference Number – Site 2 Phase 2 Cell


	
	Yes
	No
	N/A
	Central Office Notes 

(Include electronic versions of pertinent plan sheets)
	Field Office Notes

	1. Approved Plans and Specifications for the New Cell Plan Available For Review?
	X
	
	
	Pertinent plan sheets must be reviewed and used during the inspection to perform spot checks on cell construction.
	A copy is available at both the main landfill office as well as at the engineers office.

	2. Cell Components
	
	
	
	
	

	a. Groundwater Underdrain System
	X
	
	
	Not required at all sites.  Describe general construction of system – i.e. parallel trench or underdrain blanket type of system.  May need to refer to plans as this system may not be visible.
	12” of course gravel beneath 4’ of clay liner. Gravity flows to a pit equipped with two pumps.

	1) Constructed in apparent accordance with plans?
	X
	
	
	Inspect outfall and check for flowing water, at a minimum.  Describe any noted deviations from the plans and any new problems identified during this inspection related to this issue. 
	No apparent issues

	b. Liner System
	
	
	
	Describe system
	

	1) Compacted Clay and Flexible Membrane Liner (FML)
	X
	
	
	May need to refer to plans as this system may not be visible.  

For clay component, if possible, measure thickness and inspect surface for evidence of compaction at the liner edge.

For FML component, if possible, inspect the surface or edge of the liner at a seam/weld.  A geotextile cushion must be placed on top of the FML.
	4’ compacted clay.  60 ml. HDPE (High Density Polyethylene) liner covered by Geocomposite drainage net.  All covered by 12’ of clean sand on bottom of cell and tire chips on sidewalls.

	2) Compacted Clay  or Other Liner Type
	
	
	X
	May need to refer to plans as this system may not be visible.  

If possible, measure thickness and inspect surface for evidence of compaction at the liner edge.

	


	3) Constructed in apparent accordance with plans?
	X
	
	
	Describe any noted deviations from the plans and any new problems identified during this inspection related to this issue.
Basal liner and sideslope (abutment) liner may be constructed differently.
	Landfill staff working with DNR CO staff to resolve issues with bead wire in the tire chips and whether or not this is acceptable.

	c. Leachate Collection System
	
	
	
	
	

	1) Piping   
	X
	
	
	May need to refer to plans as this system may not be visible.  

Confirm that collection piping to the leachate lagoon, pipe cleanouts, and leachate head piezometers were installed. 
	2 collection pipes, connected to the Phase 1 cell piping system – Geo fabric underlies the entire cell, gravity feeding leachate to the pipes.

	2) Drainage Layer
	X
	
	
	Inspect and measure thickness and describe if it is a “granular” layer, such as sand or tire chips, and/or if it is a geonet (i.e. triplanar geonet sandwiched with geotextile). 
	Sand on the bottom of cell.  Tire chips on the side walls and a Geo fabric throughout.

	3) Constructed in apparent accordance with plans?
	X
	
	
	Describe any noted deviations from the plans and any new problems identified during this inspection related to this issue.
	No apparent issues

	d. Leachate Storage
	
	
	
	
	

	1) Constructed in apparent accordance with plans?
	X
	
	
	Describe any noted deviations from the plans and any new problems identified during this inspection related to this issue.
	This cell ties into the existing leachate pumping system which is directly connected to the Marion municipal Sanitary Sewer system.  Also has a backup holding cell on site.

	3. Surface Water Run-On Control
	X
	
	
	Is storm water effectively prevented from entering the disposal cell or is sedimentation occurring?
	Berms exist all around the cell diverting storm water away from the cell and to the sedimentation basin.

	1) Constructed in apparent accordance with plans?
	X
	
	
	Describe any noted deviations from the plans and any new problems identified during this inspection related to this issue.
	No apparent issues

	4. Surface Water Run-Off Control
	X
	
	
	All storm water that comes into contact with waste must be directed to the leachate collection system.
	System working as designed.  Experiencing some hydraulic overloading at this time due to the extremely heavy rains we have been receiving and the fact that there is no garbage within Cell 2 yet that would otherwise serve to absorb some of the liquids in the new cell.

	1) Constructed in apparent accordance with plans?
	X
	
	
	Describe any noted deviations from the plans and any new problems identified during this inspection related to this issue.
	No apparent issues.



G: 57 SW Cedar Rapids Cell #2 CRLCSWA#2 57SDP0102P 071510 ins dah
