## Cover
| IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES | IOWA DEPARTMENT OF NATURAL RESOURCES
| NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT | NPDS REPORTING SYSTEM - DISCHARGE MONITORING REPORT
| FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION | FACILITY INFORMATION
Facility Name: | Facility Name: | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP | CENTRUM VALLEY FARMS, LLP
Permit #: | Permit #: | 9900123 | 9900123
Month/Year: | Month/Year: | 12 | 2025
Outfall #(s): | Outfall #(s): | 001 - LAND APPLICATION OF WASTEWATER FROM AN EGG WASHING AND BREAKING OPERATION USING MOBILE APPLICATION EQUIPMENT
002 - LAND APPLICATION AREA 1: APPROXIMATELY 35 ACRES IN THE NE 1/4 OF SE 1/4 OF SECTION 17, T90N, R23W, WRIGHT COUNTY
003 - LAND APPLICATION AREA 2: APPROXIMATELY 80 ACRES IN THE E 1/2 OF SE 1/4 OF SECTION 18, T90N, R23W, WRIGHT COUNTY
004 - LAND APPLICATION AREA 3: APPROXIMATELY 160.5 ACRES IN THE SW 1/4 SECTION 18 AND W 1/2 OF NW CORNER SECTION 19, T90N, R23W, WRIGHT COUNTY
005 - LAND APPLICATION AREA 4: APPROXIMATELY 288.9 ACRES IN THE N 1/2 OF SECTION 24, T90N, R24W, WRIGHT COUNTY
006 - LAND APPLICATION AREA 5: APPROXIMATELY 73.9 ACRES IN THE W 1/2 OF NW 1/4 OF SECTION 19, T90N, R23W, WRIGHT COUNTY
Operator Name: | Operator Name: | Hillari Klaver
Certification #: | Certification #:
Phone #: | Phone #:
Lab Cert. #: | Lab Cert. #: | 061 AgSource Ellsworth, IA
Comments: | Comments: | 3 application areas and 6 monitoring wells. "Due to wet spring conditions and delay in farmers getting crop into the land application area we were unable to land apply through late summer. Received approval from IA DNR to transfer water to abandon hog lagoon near the farm temporarily then moved water back into the Vat once able to land apply.
|  | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email | *Include Comments longer than 1000 characters in email
Signature: | Signature: | /s/ Hillari I Klaver
I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibilityof fine and imprisonment for known violations.

## Vat Recordings
| mg/L | mg/L
Vat | Tot. Nitrogen | Tot. Phosphorus | Monthly Lowest Freeboard (ft) | Column1
Jan. Date
Febr. Date
March Date | 2025-03-12 | 2025-03-12 | 2025-03-31
| 430 | 58 | 3.08
April Date | 2025-04-22 | 2025-04-22 | 2025-04-28 | Unable to land apply due to rain and crops not planted
| 704 | 67 | 1.58
May Date | 2025-05-30 | 2025-05-30 | 2025-05-30 | Unable to land apply due to heavy rain and late crop planting
| 742 | 77 | 0.75
June Date | 2025-06-19 | 2025-06-19 | 2025-06-14 | Unable to land apply due to heavy rain and late crop planting
| 866 | 130 | 1
July Date | 2025-07-29 | 2025-07-29 | 2025-07-30 | Unable to land apply due to heavy rain and late crop planting
| 733 | 202 | 1.2
August Date | 2025-08-21 | 2025-08-21 | 2025-08-27 | Transferred water to abandon hog site lagoon with DNR permission due to heavy rain not allowing land application, water then transferred back to the Dows Vat and land applied
| 670 | 85 | 1.5
Sept. Date | 2025-09-22 | 2025-09-22 | 2025-09-03
| 400 | 15 | 6.2
Oct Date | 2025-10-15 | 2025-10-15 | 2025-10-24
| 118 | 8.78 | 8.5
Nov. Date | 2025-11-18 | 2025-11-18 | 2025-11-12
| 1391 | 120 | 10
Dec. Date | 2025-12-18 | 2025-12-18 | 2025-12-22
| 453 | 68 | 10.58

## Monitoring Well Recordings
DNR Water Testing | 2025
Testing Date | 2025-05-06 | 2025-05-06 | 2025-05-06 | 2025-05-06 | 2025-05-06 | 2025-05-06
2025 MW | MW #1 | MW #2 | MW #3 | MW #4 | MW #5 | MW #6
Aluminum
Alkalinity
Arsenic
Beryllium
Boron
Cadmium
Chloride
Chromium
Cobalt
Copper
Electrical Conductivity
Flouride
Hardness
Iron
Lead
Lithium
Manganese
Molybdenum
Nickel
Nitrate Nitrogen
pH
Selenium
Sodium Absorption Rate
Total Organic Carbon (TOC)
Total Dissolved Solids (TDS) | 308 | 398 | 465 | 275 | 430 | 340
Nitrate | 6.67 | 0.959 | 20 | 9.61 | 21 | 1.759
Total Phosphorus
Vanadium
Zinc

## Land Application
Land Application
Date applied | 2025-06-11 | 2025-06-23 | 2025-07-02 | 2025-07-03 | 2025-07-28 | 2025-08-03 | 2025-08-04 | 2025-08-05 | 2025-12-14 | 2025-12-17
Location and Acres Applied | Area 3 | Area 3 | Area 3 | Area 3 | Area 3 | Area 3 | Area 3 | Area 3 | Area 3 | Area 3
Precipitation, snow cover and temp | 2025-06-11: See Land Application Report Form for all additional information
Total Volume Applied | 20400 | 240000 | 528000 | 172800 | 676800 | 616800 | 340800 | 343200 | 1164325 | 693946
Duration of Application | 2025-06-11: See Land Application Report Form for all additional information
Crop grown, harvest date of crop, use of crop | 2025-06-11: See Land Application Report Form for all additional information
Monthly Sampling for Tot Nitrogen | 742 | 742 | 866 | 866 | 866 | 866 | 866 | 866 | 453 | 453
Monthly Sampling for Tot Phosphorus | 77 | 77 | 130 | 130 | 130 | 130 | 130 | 130 | 68 | 68
Application Rate Nitrogen | 0.6 | 6.5 | 14.3 | 4.7 | 18.3 | 16.7 | 9.2 | 9.3 | 16.5 | 9.8
Application Rate Phosphorus | 0.1 | 1.6 | 3.6 | 1.2 | 4.6 | 4.2 | 2.3 | 2.3 | 4.1 | 2.5