| ### IOWA DEPARTMENT OF NATURAL RESOURCES #### Field Office 4 1401 Sunnyside Lane, Atlantic, Iowa 50022 712-243-1934 ##### Sanitary Disposal Project Visit |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Permit #: 88-SDP-01-79C Date this Inspection: 6-27-19 Previous Inspection Date: 5-5-17 Facility Name: Union County Sanitary Landfill Weather Conditions at Time of Visit: Mostly cloudy, wind ~15-20 mph from S, area received significant rainfall the previous day Person(s) Contacted: Amy Schultes, Operator |  |  |  |  |  |  |  |
| Were deficiencies noted or significant observations made during this inspection? Yes – See Comments Sec., No – No deficiencies noted, Blank – Not applicable or observed, PND – Previously Noted Deficiency # Observations |  |  |  |  |  |  |  |
| Yes | No | PND | Item | Yes | No | PND | Item |
|  |  |  | 1. Fill Cover: daily; intermediate; final |  |  |  | 9. Construction & Demolition Area |
|  |  |  | 2. Control of Face: slope; width; location |  |  |  | 10. Special Waste Handling |
|  |  |  | 3. Compaction |  |  |  | 11. Recycling Activities |
|  |  |  | 4. Cover erosion; Ponding |  |  |  | 12. Operator Certification |
|  |  |  | 5. Drainage into fill |  |  |  | 13. Staffing |
|  |  |  | 6. Leachate Mgmt. & Control |  |  |  | 14. Equipment Backup/Maintenance |
|  |  |  | 7. Litter |  |  |  | 15. Interior Roads |
|  |  |  | 8. Wet Weather Area |  |  |  | 16. Perimeter fence, gate, signs |
| Location of Work Face: n/a Comments: The closed landfill is located on the back side of the operating transfer station and is secured by locked gate when the facility is not open. Muddy conditions made site observations difficult so I will revisit at a later date. I reviewed consultant semi-annual inspection reports for the previous two years and noted consistent comments of sparsely vegetated areas on the northeast, south and west sides of the landfill. Erosion was not observed in the April 2019 report. Also, during the latest inspection, the consulting inspector observed a non-flowing seep east of LPZ-4R and LPZ-5R. Follow-up Actions Needed: Observe above areas during the next visit. |  |  |  |  |  |  |  |
| ## AUTHENTICATION |  |  |  |  |  |  |  |
| INSPECTOR: Holly Vandemark |  |  |  |  |  |  |  |
| FACILITY CONTACT: Amy Schultes, Operator |  |  |  |  |  |  |  |

Afton062719.sw.UnionSDPclosed.visitform.vandemark.doc

CC:  Becky Jolly, SW Section, DNR, Des Moines, IA via email

Facility SW File, Union County