[image: image1.jpg]Fields of Opportunities S TAT E O F | O WA

CHESTER J. CULVER, GOVERNOR DEPARTMENT OF NATURAL RESOURCES
PATTY JUDGE, LT. GOVERNOR RICHARD A. LEOPOLD, DIRECTOR






January 28, 2010
Brad Seward
Director of Operations & Education

Clinton County Area Solid Waste Agency

P.O. Box 996

Clinton, IA 52732

Subject:  Follow up visit #1
          Permit No: 23-SDP-01-74P               
Dear Mr. Seward:

On January 19, 2010, I conducted a visit at the Clinton County Sanitary Landfill to follow up on issues observed during the December 23, 2009 Compliance Inspection.  The following bulleted items were requirements that needed addressing, with post-follow up comments in bold.   
· Maintain the working face only large enough to accommodate the rate of disposal in a safe and efficient manner. Size of working face has been reduced.
· Cover all waste at the end of every working day, with the appropriate amount of cover material. Intermediate and daily cover has greatly improved.
· If alternative daily cover (ADC) is used, incorporate soil with the ADC material at a rate of 50-50. Not observed, however, cover-soil piles appeared to be readily available to be incorporated along with use of compost for ADC.  
· When leachate seeps are found, either repair as soon as possible or develop a plan of action with a detailed schedule for repair. There had been question of whether or not there was an active leachate seep north of the scale house, you and I observed the area of question on the 19th, and both of us agreed it appears to be an active leachate seep.  Please develop a plan of action for directing the leachate seepage into the current collection system.   
· Remove trees and other deep rooted vegetation from areas with final cover.  Due to weather conditions this winter, you plan on pulling the entire tree instead of cutting them.  A follow up during the summer of 2010 will verify the compliance with this requirement.     
· Document random load inspections. Documentation of load inspections has been reviewed. 

If you have any questions or would like further explanation of any part of this report, please contact me at 319-653-2135.

Sincerely,

FIELD SERVICES & COMPLIANCE BUREAU 

Kurt Levetzow

Environmental Specialist Senior

klevetz\Solidwaste\SDP\2010\Clinton Co. SDP follow up 1-10.doc

photofile: Clinton Co. SDP 1-19-10.jpeg

xc: Mick Leat, IDNR Solid Waste Section
    Clinton Co. SDP File

    Brock Swan, Progress Contracts, 1209 N. 3rd St., Clinton, IA 52732
Environmental Services Division, Field Office #6, 1023 W. Madison, Washington, Iowa 52353-1623 Tel 319-653-2135   Fax 319-653-2856

WALLACE STATE OFFICE BUILDING / DES MOINES, IOWA 50319

515-281-5918    TDD 515-242-5967    FAX 515-281-6794    www.Iowadnr.com

[image: image1.jpg]