	IOWA DEPARTMENT OF NATURAL RESOURCES

ENVIRONMENTAL SERVICES DIVISION

Field Office #5

401 SW 7th St., Suite I, Des Moines, Iowa   50309-4611

Phone: (515) 725-0268                   FAX: (515) 725-0218

	REPORT OF INVESTIGATION

	INVESTIGATION DATE 
	CURRENT: 4/3/09
	LAST: 5/11/07

	TO: 
	City of Des Moines
400 Robert D Ray Drive, Des Moines, IA 50309

	SUBJECT: 
	Routine Inspection
Landfill of Des Moines # 4, 1801 Euclid Ave., Des Moines, IA


	PERSONS 

CONTACTED:


	Andrew Hennesy – Parks and Recreation Assistant to the Director (by phone)


OBSERVATIONS:
On April 3, 2009, I stopped by the site for a routine inspection.  A new front gate had been put in place since the last inspection but was not locked.  My observations make reference to the aerial photo below of Landfill of Des Moines #4. 
	[image: image15.jpg]Fields of Opportunities S TAT E O F | O WA

CHESTER J. CULVER, GOVERNOR DEPARTMENT OF NATURAL RESOURCES
PATTY JUDGE, LT. GOVERNOR RICHARD A. LEOPOLD, DIRECTOR




[image: image1.jpg]



	

	
	


1. An opening through the trees and no fence – a way to access the site.
2. Another access point; apparently for ATVs.

3. A gully--no exposed refuse to this point but some upkeep needs to be address to prevent further erosion.

4. Numerous sand bags and bags of some type of recycled material dumped just south of the old building – need to be properly disposed of. 
5. Next to the only building on site (right in front of it) there were seven appliances – need to be properly disposed of.
6. Ponding water on a terrace.

7. Fencing is not adequate to prevent unauthorized access to the site.

8. Old couch – needs to be removed and properly disposed of.

9. Bare spot on the east side of the hill – establish vegetation to prevent any erosion of the area.
10. Potential leachate – should core and seal the leachate seep areas.

11. Fence torn down so ATVs can access site from Morningstar Drive.
12. & 13. Old fireplace and car – need to be properly disposed of.
14. Old couch – needs to be properly disposed of.
15. Potential leachate that goes into a storm drain, which drains off site – should core and seal the leachate seep area.

16. Fence torn down so ATVs can access site.

17. Monitoring well #93/1 not secured.

18. A gully--no exposed refuse to this point but work is needed to prevent further erosion.
19. Several leachate seeps (hydrogen sulfide odor), which drain into a small marshy area.  There is a drainage pipe in the middle of this little marshy area.  Need to core and seal the leachate seeps.

20. Monitoring well #93/2 not secured.
[image: image2.jpg]


[image: image3.jpg]



1. Access on east hill side up towards the front gate.

        2. Another access point, mainly for ATV.
[image: image4.jpg]


[image: image5.jpg]



4. Numerous sand bags and some form of recycling material.
         5. Seven appliances.
[image: image6.jpg]


[image: image7.jpg]



6. Ponding on one of the terrace.



       9. Bare spot on the east side of the main hill (refer to map). 
[image: image8.jpg]



10. Potential leachate. 
[image: image9.jpg]


[image: image10.jpg]



15. Potential leachate that is getting into a storm drain which leads off site.

 [image: image11.jpg]


[image: image12.jpg]



17. Monitoring well #93/1 not secured.


18. Erosion reel.
[image: image13.jpg]


[image: image14.jpg]



19. Potential leachate that is seeping into a small marshy area, which has a drain intake in it.
REQUIREMENTS:
· Remove and properly dispose of the appliances, couches, and the car at a permitted disposal facility. [567 IAC 100.4(455B)]

· Remove and properly dispose of the sand bags and bags filled w/recycling material need to be properly disposed of. [567 IAC 100.4(455B)]
· Repair eroded gullies and protect them from further erosion as well as any bare spots. [567 IAC 114.26(14)b]
· Core and seal the leachate seep areas. [567 IAC 114.26(13) &(14)e]
· Eliminate surface water ponding. [567 IAC 114.26(14)a]
· Secure all monitoring wells. [567 IAC 114.26(14)d]
· Provide adequate fencing throughout the site to prevent unauthorized access to the site. [567 IAC 114.26(2)b]
· Submit necessary semiannual monitoring and future Annual Water Quality Reports for the remainder of the post-closure period. 567 IAC 114.26(10)]
	AUTHENTICATION

	INSPECTOR: 
Jeff Theobald

	DATE: 

4/13/09

	REVIEWER:
Bill Gross


	DATE:
4/14/09


April 20, 2009
Donald Tripp – Director 
City of Des Moines, Park & Recreation Dept.
3226 University Avenue
Des Moines, Iowa 50311
RE: 

   Landfill of Des Moines #4, 1801 Euclid Ave., Des Moines, IA


Sanitary Disposal Project Permit # 77-SDP-12-79C

Dear Mr. Tripp:

Enclosed is the report completed by  FORMDROPDOWN 
 of the Field Office #5 staff following the inspection of the Landfill of Des Moines #4 closed landfill.
The report should be self-explanatory.  Please take note of the requirements listed near the end.  By May 20, 2009, submit a written response describing your plan (with a time schedule) to address these issues.  
Since this has been a persistent problem, we are forwarding this report to the IDNR Legal Services Section for review.  You may contact  FORMDROPDOWN 
  FORMDROPDOWN 
 or this office with any questions or comments.  Thank you for your assistance during this inspection.
Sincerely,

Jim Stricker 

Supervisor, Field Office #5

c:  Jon Tack, IDNR Legal (w/encl.)

     Becky Jolly/Mick Leat, IDNR Solid Waste Section (w/encl.)
     Steve Corell, Corell Contractor, Inc., 1300 Lincoln Street, P.O. Box 65430, West Des Moines, Iowa 50265

20





17





16





15





14





19





18





13





12





11





10





9





8





7





6





5





4





3





2





1








C:\Jeff-FO#5\Solid Waste\2009\Landfill of Des Moines#4.ROI.doc

