Manganese Sample Data Form/OP Revision Request

Water Supply Name: Responsible Transportation LLC        PWSID #: 5475101

Date of Sanitary Survey/Staff Action: June 1, 2022

Collected by: Jon Ryk, Environmental Specialist  Affiliation: DNR FO6

Self-Monitoring Results and Information:

Free chlorine residual: N/A   Total chlorine residual: N/A

Monochloramine: N/A  Free Ammonia: N/A

Manganese: N/A

Manganese Test Kit Method: N/A

Well(s) or Source(s) in use: Well #2 (1977), Well #3 (1977) & Well #5 (1986)

Sampling Collection Information:

SEP#: 01 	SEP Description: S/EP FRM WELLS #2, 3 & 5 (PARALLEL)

Sample Date: June 1, 2022 		Sample Time: 1005

SHL Manganese Results: No Detect (<0.02 mg/L)

Manganese Flow Chart Used to Assign Monitoring: ☒1 ☐2  ☐3  ☐4 ☐5

Comments or rationale:  No manganese removal treatment and no detect of manganese at the S/EP.

Assigned Monitoring:

Check the parameters to be included and enter the frequency:

| Parameter | Frequency | Location |
| --- | --- | --- |
| ☐ Manganese | Annual | SEP |
| ☐ Manganese | Quarterly | SEP |
| ☐ Manganese | Monthly | SEP |
| ☐ Manganese Self Monitoring* | Daily | SEP |
| ☐ Manganese Self Monitoring* | Weekly | SEP |

* = self-monitoring, must be reported on MOR

Date emailed/sent to WSOS:  (FILE ONLY)

Date WSO Permit revised (to be completed within 60 days):  (FILE ONLY)

Email or send this form to the WSOS permit writer following the sanitary survey and receipt of results.

Please file this form with the sanitary survey report in the FO WS file.

Complete the SHL sample form, including the PWSID, facility ID and sampling point ID and submit with the sample(s).

Use DNR project code: IDNR Manganese