	IOWA DEPARTMENT OF NATURAL RESOURCES

	Sanitary Disposal Project Inspection

	

	Permit #: 
	Page 1

	Facility Name:
	GRRWA
	County:
	Lee

	 Facility Operator:
	Dan Hermes, Landfill Supervisor
	
	

	Address :
	2092 303rd Ave, Ft. Madison, IA 52627
	Phone:
	319-372-6140

	Responsible Authority:
	GRRWA
	
	

	Responsible Official:
	Wade Hamm, Operations Manager
	
	

	Address:
	Same as above
	Phone:
	Same as above

	
	
	
	

	Date This Inspection:
	11/13/09
	Waste Amount:
	

	Date Last Inspection:
	2008
	
	

	At the Time of this Inspection:

	· facility personnel present: Dan Hermes
· present fill location: Region 2, Phase 0
· future fill location: same
	· surface conditions: dry
· ambient temperature: 55 ˚F
· wind direction and speed: S@5-10

	Yes – compliance was being achieved; No – compliance was not being achieved,

N/A – not applicable or not observed; PND – previously noted deficiency (PND).

	

	I. Documents and Record Keeping:

	Yes
	No
	N/A
	PND
	Item
	
	Yes
	No
	N/A
	PND
	Item

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. Permit and Plans
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	5. Storm Water Permit

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Permit Amendments
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	6. ERRAP

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. Permit Special Provisions 
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7. DOP, LCP, HMSP, CPCP

	
	
	
	4. Permit Required Reports
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Leachate volume record

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. quarterly solid waste report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. LCSPE

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. water quality monitoring report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	10. SWA & SWAC

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. semi-annual engineer’s report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	11. Financial Assurance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. gas monitoring report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	12. Other

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	e. other 
	
	
	
	
	
	

	

	II. Operating Procedures:

	Yes
	No
	N/A
	PND
	Item
	
	Yes
	No
	N/A
	PND
	Item

	
	
	
	1. Fill Cover
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7.  Special Waste Handling

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. daily
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Recycling Activities

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. intermediate (7-day)
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. Scavenging & Vector Control

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. long term (60-day)
	
	
	
	
	
	10. Litter Control

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Fill Elevations (adequate surveying)
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. fences

	
	
	
	
	3. Control of Face
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. hand picking

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. width
	
	
	
	
	
	11. Staffing

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. slope
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. operators/personnel

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. dumping location
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. incoming waste

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	4. Compaction
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. operator certification

	
	
	
	
	5. Drainage
	
	
	
	
	
	12. Equipment

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. cover erosion
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. operation/ maintenance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. ponding
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. backup availability

	
	
	
	
	c. drainage structures
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	13. Road Adequacy

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. dikes, berms & terraces
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	14. Monitoring Wells

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. tile lines
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	15. Adverse Weather Operations

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. ditches
	
	
	
	
	
	16. On-Site Facilities

	
	
	
	
	6. Leachate Control
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. perimeter fence/gate

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. system operation
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. signs

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. head measurement
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. separation distances

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. seepage
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	17. Other

	
	
	
	
	
	
	
	
	
	
	

	AUTHENTICATION

	INSPECTOR
	
	Date:

	REVIEWER
	
	Date:


General Description:  GRRWA Landfill Compliance Inspection on 11/13/09
I. Record Keeping:
Dan stated that records are kept in Wade’s office, and Wade was on vacation at the time of this compliance inspection.  Therefore, ensure that records are readily available for inspection, (litter records, Storm-water Pollution Prevention Plan updates, waste screening records, ERRAP updates).                                     
II. Operating Procedures:
Cover:  Daily and intermediate cover looked good during the course of the inspection.  A tarp-o-matic system is used to cover the majority of the working face, and dirt needs to be used to cover any solid waste that the tarp does not cover.  
Working Face:  After reviewing photographs taken during the inspection, the working face appeared to be quite large.  Please keep in mind the following rule citation:  Disposal Operations & Activities - 567 IAC 113.8(2)“d”(1)– states that the working face shall be no larger than necessary to accommodate the rate of disposal in a safe and efficient manner.
Compaction:  A dozer and compactor were operating at the time of the inspection; therefore, desired compaction is most likely being achieved.  
Cover erosion & Ponding:  Neither was observed during the inspection.  
Vegetation:  Cover vegetation on Phase 1 appeared to be in great shape.  
Leachate seeps:  Leachate seeps were not observed during the inspection.  
Litter Control:  Litter fences were in place near the working face and were effective at collecting windblown litter; however, there was litter outside of the litter fences to the north of the working face.  Dan Hermes indicated that he and the other operators would be out hand picking litter prior to the days end.  Chain-link fencing has been attached to the poles that had been set on the northern property line for the past couple of years. Offsite litter was not observed.  Overall, the landfill was in excellent shape as far as windblown litter is concerned.   
Staffing:  Several operators on staff are certified.  
Road adequacy:  Interior roads were in excellent shape.  
Monitoring wells:  Monitoring Well (MW) #16 has a broken hinge that needs replaced.  All other monitoring wells appeared to be properly locked.  The hinge on MW#16 must be fixed.
Prohibited materials:  The operators at the working face have been removing prohibited materials such as tires and appliances, as was evident by the dumpsters containing tires and appliances near the working face.   
SUMMARY OF REQUIREMENTS
Replace the hinge on MW#16.
SUMMARY OF REMINDERS
N/A
SUMMARY OF RECOMMENDATIONS

Maintain the working face no larger than necessary.
[image: image1.jpg]Fields of Opportunities S TAT E O F | O WA

CHESTER J. CULVER, GOVERNOR DEPARTMENT OF NATURAL RESOURCES
PATTY JUDGE, LT. GOVERNOR RICHARD A. LEOPOLD, DIRECTOR




