	IOWA DEPARTMENT OF NATURAL RESOURCES

Field Office 6

1023 West Madison, Washington, IA 52353

319-653-2135

Sanitary Landfill Compliance Follow Up

	Permit #: 56-SDP-07-80P      Date this Follow Up: 1/10/11                   Previous Inspection Date: 8/10
Facility Name: GRRWA Sanitary Landfill            Weather Conditions at Time of Visit: Sunny & cold
Person(s) Contacted: Wade Hamm, Dan Hermes


	Were deficiencies noted or significant observations made during this inspection?

Yes – See Comments Sec., No – No deficiencies noted, Blank – Not applicable or observed, PND – Previously Noted Deficiency

Observations

	Yes
	No
	PND
	Item
	Yes
	No
	PND
	Item

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. Fill Cover: daily; intermediate; final
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	10. Special Waste Handling 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Control of Face: slope; width; location
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	11. Recycling Activities

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. Compaction
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	12. Operator Certification

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	4. Cover erosion; Ponding
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	13. Staffing

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	5. Drainage into fill
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	14. Equipment Backup/Maintenance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	6. Leachate Mgmt. & Control
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	15. Interior Roads

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7. Litter
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	16. Perimeter fence, gate, signs

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Wet Weather Area 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	17. Photos taken

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. Construction & Demolition Area
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	18. Follow-up needed

	Location of  Work Face: Region 2-Cell 2
Comments:
1.  Vegetation should be established on the denuded areas of Phase 2-Region 1 during the spring/early summer of 2011 to minimize sediment migration into Region 2-Cell 2.  At the time of this visit, this did not appear to be an issue due to frozen soil, but come spring thaws, it could become an issue.  Mr. Hermes stated that finished compost from the onsite and active landscape waste compost area would be used to provide organic matter to initiate vegetative growth.  Reshaping of the southern edge of Phase 2-Region 1 may be necessary as well due to pre-existing  erosion ruts.
2.  Litter was nearly non-existent around the entire property.  Mr. Hermes should be commended for keeping the windblown litter picked.  The litter cages near the working face are strategically placed to capture litter before it can leave the vicinity of the working face.

3.  Leachate seeps were not observed during the facility tour.  An area where an old seep had been active years ago was observed, and the area is now dried up and vegetated.    

4.  Interior roads were in very good condition.  Due to frozen conditions, tracking of mud was not an issue.  
5.  Roll off containers are located at the working face for tires, batteries, appliances and for other illicit items to be placed and diverted from the working face.

6.  Faint landfill gas odors were detected in various locations around the landfill.  GRRWA has a construction permit to install a new "candle stick" type flare.   The flare is proposed to be located along the upper portion of the southern edge of Phase 2-Region 1 (the location of this flare may change, pending approval of DNR Air Quality Bureau permit engineer).
7.  The number of waste tires was not counted, but estimated to be approaching the limit of 1000 (limit is 1500).  Mr. Hamm stated that he would schedule a pick up with the contract hauler.  

8.  Trees that were removed from the stormwater ditch (south of the maintenance shop) has improved the aesthetics of the area .  Visibility for garbage haulers has  certainly been improved as a result of removing the trees (these trees were not growing in a cell, but along a stormater ditch).  
9.  Vegetative growth of grasses on the majority of the property was in great condition.  

	AUTHENTICATION

	INSPECTOR:                                                                                                     REVIEWER:  




