	IOWA DEPARTMENT OF NATURAL RESOURCES

Field Office 6

1023 West Madison, Washington, IA 52353

319-653-2135

Beneficial Reuse Compliance Inspection

	Permit #:  82-SDP-13-93                  Date of Inspection: 8/10/10                

Facility Name: Linwood Mining Ash Beneficial Reuse Program       Weather Conditions at Time of Visit: clear & hot
Person(s) Contacted: Jonathan J. Wilmshurst – President, Mark Looman – VP Lime & Carbonates, Dyrk Huffman – Mine Manager, Duke Fulton – AMSCO General Manager


	Were deficiencies noted or significant observations made during this inspection?

Yes – See Comments Sec., No – No deficiencies noted, Blank – Not applicable or observed, PND – Previously Noted Deficiency

Observations

	Yes
	No
	PND
	Item
	Yes
	No
	PND
	Item

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. Fill Cover: daily; intermediate; final
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	10. Special Waste Handling 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Control of Face: slope; width; location
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	11. Recycling Activities

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. Compaction
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	12. Operator Certification

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	4. Cover erosion; Ponding
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	13. Staffing

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	5. Drainage into fill
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	14. Equipment Backup/Maintenance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	6. Leachate Mgmt. & Control
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	15. Interior Roads

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7. Litter
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	16. Perimeter fence, gate, signs

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Wet Weather Area 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	17. Photos taken

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. Construction & Demolition Area
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	18. Follow-up needed

	Location of Filling: field north of Rinker’s Cement Plant and Scott County Landfill property (site is currently being moved, but still at landfill property.
Comments:
SPLP and Total Metals testing is completed annually and submitted to the IDNR Solid Waste Section in Des Moines (atten: Matt McDonald).  The Solid By-Product Management Plan is resubmitted annually with the above mentioned sampling results.  Mr. Tim Walsh of Linwood was contacted regarding ash testing and he indicated that TCLP testing is no longer necessary.   However, Matt McDonald stated that it is recommended that TCLP testing continue to ensure you are not handling ash that constitutes itself as a hazardous waste.   
Semi tractor/trailers deliver ash to the site of filling, where the ash is pneumatically conveyed into a pug-mill.  The pug-mill mixes water with the ash and creates a slurry material.  The slurry is pumped down into a series of previously mined caverns underground, through an 18” hole.  Over time, the slurry hardens and fills the void in the cavern.  During this inspection, we toured a cavern that had been filled in the past.  The slurry had dried out and created a surface that we walked across.  The material was not “rock hard”, however plenty hard to provide the benefit of filling the cavern to within 6-7’ from the top of the cavern.  Digital photos are attached.  

The pug mill operation appeared to be very clean and neatly operated (i.e. no slurry run-off or fugitive emission generated).  

No requirements are being placed on Linwood or AMSCO at this time.



	AUTHENTICATION

	INSPECTOR:



	REVIEWER:



	


[image: image1.jpg]


[image: image2.jpg]08/10/2010



[image: image3.jpg]08/10/2010




[image: image4.jpg]


[image: image5.jpg])
=
=)
]
=
S)
=
=
(CO)
S)




[image: image6.jpg]08/10/2010




[image: image7.jpg]


[image: image8.jpg]08/10/2010

G, &



[image: image9.jpg]08/10/2010



[image: image10.jpg]08/10/2010




[image: image11.jpg]


[image: image12.jpg]


[image: image13.jpg]



Klevetz/SW/SDP/2010/Linwood CCR insp 8-10.doc

Pictures/Linwood CCR picts 8-10-10.jpg

