
[image: image1]

August 28, 2021
Larry Oldenkamp
Northwest Iowa Area Solid Waste Agency

4540 360th Street

Sheldon, IA51201
SUBJECT:  Sanitary Disposal Project Inspection

                    SDP Permit #84-SDP-01-74P  Sioux County

Dear Mr. Oldenkamp:

Enclosed is a copy of the report resulting from the August 13, 2021, inspection of the Northwest Iowa Area Solid Waste Agency Sanitary Landfill.  The report is believed to be self-explanatory.  

If you have any questions or comments, please contact me.  


Sincerely,


Matt Jefferson, Environmental Specialist


matthew.jefferson@dnr.iowa.gov


Field Services and Compliance Bureau

​​__:__
c:
-Becky Jolly, PP&ES, E&WMB, ESD, DNR, Des Moines

enc:
Inspection report

	IOWA DEPARTMENT OF NATURAL RESOURCES

	Sanitary Disposal Project Inspection

	

	Permit #:84-SDP-01-74P
	
	Page 1

	Facility Name:
	Northwest Iowa Area Solid Waste Agency Sanitary Landfill
	County:
	Sioux

	 Facility Operator:
	Larry Oldenkamp
	
	

	Address:
	4540 360th Street, Sheldon, IA 51201
	Phone:
	712-324-4026

	Responsible Authority:
	Northwest Iowa Area Solid Waste Agency
	
	

	Responsible Official:
	Larry Oldenkamp
	
	

	Address:
	4540 360th Street, Sheldon, IA 51201
	Phone:
	712-324-4026

	
	
	
	

	Date This Inspection:
	8/13/21
	Waste Amount:
	~ 60,000 ton per year

	At the Time of this Inspection:

	· facility personnel present: Larry Oldenkamp
· present fill location: Cell #21
· future fill location: Cell #22
	· surface conditions: dry
· ambient temperature: 29 degrees F
· wind direction and speed: N 10 mph

	Yes – compliance was being achieved; No – compliance was not being achieved,

N/A – not applicable or not observed; PND – previously noted deficiency (PND).

	

	I. Documents and Record Keeping:

	Yes
	No
	N/A
	PND
	Item
	
	Yes
	No
	N/A
	PND
	Item

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. Permit and Plans
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	5. Storm Water Permit

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Permit Amendments
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	6. ERRAP

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. Permit Special Provisions 
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7. DOP, LCP, HMSP, CPCP

	
	
	
	4. Permit Required Reports
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Leachate volume record

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. quarterly solid waste report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. LCSPE

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. water quality monitoring report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	10. SWA & SWAC

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. semi-annual engineer’s report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	11. Financial Assurance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	d. gas monitoring report
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	12. Other

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	e. other 
	
	
	
	
	
	

	

	II. Operating Procedures:

	Yes
	No
	N/A
	PND
	Item
	
	Yes
	No
	N/A
	PND
	Item

	
	
	
	1. Fill Cover
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7.  Special Waste Handling

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. daily
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Recycling Activities

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. intermediate (7-day)
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. Scavenging & Vector Control

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. final (60-day)
	
	
	
	
	
	10. Litter Control

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Fill Elevations (adequate surveying)
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. fences

	
	
	
	
	3. Control of Face
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. hand picking

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. width
	
	
	
	
	
	11. Staffing

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. slope
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. operators/personnel

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. dumping location
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. incoming waste

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	4. Compaction
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. operator certification

	
	
	
	
	5. Drainage
	
	
	
	
	
	12. Equipment

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. cover erosion
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. operation/ maintenance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. ponding
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. backup availability

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. drainage structures
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	13. Road Adequacy

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. dikes, berms & terraces
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	14. Monitoring Wells

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. tile lines
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	15. Adverse Weather Operations

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. ditches
	
	
	
	
	
	16. On-Site Facilities

	
	
	
	
	6. Leachate Control
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. perimeter fence/gate

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	a. system operation
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. signs

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	b. head measuring device operation
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. separation distances

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	c. seepage
	
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	17. Other

	
	
	
	
	
	
	
	
	
	
	

	AUTHENTICATION

	INSPECTOR
	Name:  Matt Jefferson
	Date:  8/13/21

	REVIEWER
	Name:  
	Date:  


General Description:  

I. Record Keeping:
1. Permit and Plans — The permit renewal was issued on April 3, 2018, and expired on April 3, 2023.
2. Permit Amendments — All permit amendments have been recorded properly.  The last amendment was issued on August 21, 2020, for the expansions of the leachate lagoon.
3. Permit Special Provisions — The comprehensive planning area for this facility includes the cities and unincorporated areas of Lyon County, O'Brien County, Osceola County, Sioux County, the City of Akron in Plymouth County and all of the cities in Clay County excluding Spencer.
4. Permit Required Reports: a. quarterly solid waste report; b. water quality monitoring report; c. semi-annual engineer’s report; d. gas monitoring report; e. other —The required reports have been prepared and submitted by EVORA Consulting, formerly Barker Lemar Engineering Consultants.
5. Storm Water Permit — General Permit #1 for “Storm Water Discharge Associated with Industrial Activity” was issued March 10, 2018, and provides coverage for discharges through March 10, 2023.  There were no apparent storm water violations at this facility during this visit.  

6. Emergency Response and Remedial Action Plan — The staff is familiar with the ERRAP and it should be updated as required with the permit renewal.
7. Development & Operation Plan, Leachate Control Plan, Hydrologic Monitoring System Plan, Closure Postclosure Plan — These plans have been approved by the Department and have been incorporated as required operating conditions of their permit.
8. Leachate Volume Record — Records of leachate being pumped and hauled off-site for treatment and disposal are kept at the scale house.   These records show a total of 319,500 gallons of leachate were removed during year 2021, prior to the last measurement on July 26, and treated at the Sibley Wastewater Treatment Plant under the current treatment agreement.
9. Leachate Control System Performance Evaluation — This facility had the leachate control system cleaned and inspected on October 16, 2020, by Rehab Systems Inc. out of Cherokee, Iowa.  There were no concerns observed.
10. Special Waste Authorization & Special Waste Acceptance Criteria — Susan Johnson from the DNR central office has issues this landfill special waste authorization approvals.
11. Financial Assurance —This landfill submitted the financial assurance report and its requirements to the DNR central office on June 30, 2020.
12. Other — None
II. Operating Procedures:
1. Fill Cover: a. daily; b. intermediate (7-day); c. final (60-day) — This facility utilizes dirt for daily cover.  They still continue to borrow dirt from the east side of the property which contains a sufficient amount.  During the inspection I observed solid waste was sufficiently covered and there was a small amount windblown litter.
2. Fill Elevations (adequate surveying): —Fill elevations are being measured efficiently by use of GPS on the compactor.  A computer program is utilized to monitor location, depths and compaction levels.  EVORA Consulting conducted an air space analysis (topographic survey) for the remaining life of the cells on October 17, 2020. The calculated life of the current cell will run into 2021 or 2022.
3. Control of Face: a. width; b. slope; c. dumping location — The working face appeared to be well maintained with sufficient compaction and adequate management of slope/width.  Portable screens are located near the working face and are relocated as needed to capture any windblown litter.
4. Compaction — The solid waste is receiving 1,617 lb/cubic yard compaction by utilizing a CAT 826K compactor.  This was calculated during the air space analysis.
5. Drainage: a. cover erosion; b. ponding; c. drainage structures – 1. dikes, berms & terraces, 2. tile lines, 3. ditches —There were no drainage problems observed during the inspection.  
6. Leachate Control: a. system operation; b. head measuring device operation; c. seepage — The leachate collection system has been functioning properly and was jet cleaned on October 16, 2020.  Every three years the leachate lines are cleaned out and inspected.  All leachate has been hauled to the City of Sibley wastewater treatment plant.
In October of this year, contractor JB Holland started the expansion project of the leachate lagoon to increase the capacity to 1,500,00 gallons.  The lagoon construction was completed during the inspection and appeared to be in excellent condition.  In the spring of 2021, four aerators will be installed when water levels are high enough to provide treatment to the leachate.
7. Special Waste Handling —There were no issues involving special waste handling.
8. Recycling Activities —Shredded paper is still baled on site and plastic farm chemical containers continue to be ground up.    

· There were roughly 600 tires on site and are picked up by Haben Enterprises.  

· 25 appliances were on site and are picked up Samson Development.
· There were 26 totes of CRTs which are picked up by Retrofit.
· The was approximately 3,000 lbs of scrap metal on site.  This is collected by Bonestroo.

· Waste oil is collected by JJ Waste Oil out of Saint James, Minnesota. Last pickup was Spring 2020.
· HHM mobile trailer is utilized to collect approximately 80% of all of the HHM at the RCC at this facility.  Tradebe is the collector of HHM.
· 22 totes of e-waste was located onsite at the time of this inspection.
9. Scavenging & Vector Control — No issues were noted during the inspection.
10. Litter Control: a. fences; b. hand picking — There was very little windblown litter observed during the inspection.  Many full, large garbage sacks were laying near the internal haul road from the hired litter pickers.  These bags of windblown litter were to be picked up and placed back in the working face on the same day of the inspection. Mr. Oldenkamp stated that the portable fences still continue to catch much windblown litter and are utilized effectively.  
11. Staffing: a. operators/personnel; b. incoming waste screening; c. operator certification — The staff at this landfill have received the proper training and certification.  The following staff members are certified landfill operators:  Larry Oldenkamp and Tyler Sipma.  Jared Bernhardt has completed the 25-hour operator training from EVORA Consulting and is waiting to test with the DNR for certification.
12. Equipment: a. operation/maintenance; b. backup availability —A D6 landfill waste handler is scheduled to arrive in November 2021.  All equipment receives the proper maintenance to ensure adequate performance.  This facility utilizes the following heavy pieces of equipment to properly maintain the landfill: 
· CAT 826K compactor

· CAT D6R dozer (plus one more scheduled to arrive in November)
· CAT 140G grader

· CAT 615C scraper (one less than last year)
· Case 580 Super K backhoe

· CAT 816 F compactor

· Clark CGC 25 forklift

· Bobcat 753 skid loader

· Bobcat 542 B skid loader

· White 2-85 tractor

· CAT 255 telehandler

· John Deere 250D Articulated dump truck

· John Deere 350G excavator

13. Road adequacy - All roads were in good condition during the inspection. 
14. Monitoring wells — Mr. Oldenkamp indicated the monitoring wells are in good condition and recently completed the spring sampling for the annual report.  
15. Adverse weather operations — Rock is placed on the haul road to the working face so wet weather conditions is not an issue.
16. On-site facilities: a. perimeter fence/gate; b. signs; c. separation distances — The gate and signs remain in good condition.
17. Other — None.
SUMMARY
This facility appears to be operating in compliance with the rules and its operation permit.  It appears to be extremely well managed by Mr. Oldenkamp and his staff are highly efficient with their specific duties.  There were no violations or concerns observed during the inspection.
FIELD OFFICE #3   /   1900 N. Grand   /  Gateway North, Suite E17   /   Spencer, Iowa 51301-2200

712-262-4177   /   FAX 712-262-2901   

[image: image1][image: image2.png]lowA DEPARTMENT OF NATURAL RESOURCES GOVERNOR KIM REYNOLDS
LT. GOVERNOR ADAM GREGG

ACTING DIRECTOR BRUCE TRAUTMAN



