	IOWA DEPARTMENT OF NATURAL RESOURCES

Field Office 6

1023 West Madison, Washington, IA 52353

319-653-2135

CCR Landfill Inspection

	Permit #: 90-SDP-08-92P-CCR         Date this Inspection: 5/14/10                Previous Inspection Date: 9/25/2009
Facility Name: Ottumwa-Midland CCR Landfill   Person(s) Contacted: Wade Hart
Weather Conditions at Time of Visit: Sunny, westerly breeze, surface conditions damp


	Were deficiencies noted or significant observations made during this inspection?

Yes – See Comments Sec., No – No deficiencies noted, Blank – Not applicable or observed, PND – Previously Noted Deficiency

Observations

	Yes
	No
	PND
	Item
	Yes
	No
	PND
	Item

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	1. Fill Cover: daily; intermediate; final
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	10. Special Waste Handling 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	2. Control of Face: slope; width; location
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	11. Recycling Activities

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	3. Compaction
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	12. Operator Certification

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	4. Seeding necessary
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	13. Staffing

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	5. Drainage into fill
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	14. Equipment Backup/Maintenance

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	6. Leachate Mgmt. & Control
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	15. Interior Roads

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	7. Fugitive Dust
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	16. Perimeter fence, gate, signs

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	8. Wet Weather Area 
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	17. Photos taken

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	 FORMCHECKBOX 

	9. Construction & Demolition Area
	 FORMCHECKBOX 

	 FORMCHECKBOX 

	
	18. Follow-up needed

	The facility receives CCR from two main sources, Cargill of Eddyville and Pella Municipal Power Plant, although several other facilities are listed on the permit.    Typical waste stream entering the facility is approximately 100-200 ton/day.  Please be advised, Alliant Energy ML Kapp is not currently listed on the permit, but apparently some ash has came from there.  If CCR is going to continue to be accepted from ML Kapp, they must be incorporated into the permit.   

During the course of the inspection, we observed four semis depositing CCR at the working face.  The material was dumped, watered via the water-truck, and after the semis left, a road grader was used to spread the material out.  Mr. Hart was the only employee onsite, performing both the watering and spreading of ash.  It appears as though a minimum of two employees should be available to more effectively control fugitive emissions from becoming airborne and leaving the property.  As we observed during this inspection, one person spreading the ash, without the presence of water, was not sufficient to effectively keep dust from crossing property lines.  Paragraph 567 Iowa Administrative Code 23.3(2)”c” - Fugitive dust – states that reasonable precautions must be taken to prevent fugitive emissions from crossing property lines.
Overall, the vegetative cover appeared to be in excellent shape.  A couple of small patches of barren soil was observed on the overburden hill, however, these areas did not appear to be getting worse or causing any problems, so no action is required at this time.  The denuded areas along the rip-rap and along the earthen berm up along the southern edge of the working face should be seeded as soon as possible.  

Due to recent wet weather, the storm-water retention basin was backed up into the silt pond.  Mr. Hart has sampled the water and is awaiting the results prior to discharging to the creek.  The process of using the storm-water from the retention basin for dust control seems to work quite well.  Storm-water is tested annually, per the Stormwater Permit requirements. 

No leachate seeps were observed during this inspection, monitoring wells were locked and protected by brightly colored posts, perimeter of facility was fenced, signage was intact, and the interior roads were in very good shape.     



	AUTHENTICATION

	INSPECTOR:



	REVIEWER:





