Rural Iowa Waste Management Association

Dan Aastrup                                                                                                                                 Rusty Eddy

Director                                                                                                                                         Chairman

641/858/5904                                                                                                                                20488 M Ave

dan@riwma.net                                                                                                                            Eldora,Ia

October 13, 2020

Jacob Donaghy

IDNR	2300 15th ST SW

Mason City , Iowa  50401

Dear Mr. Donaghy:

In response to your letter of September 25, 2020 –

#567 IAC 63.3{3] – A full spectrom sample for testing was made by HLW Engineers on October 1, 2020. Full testing will be conducted in October of future years along with current monthly tests.

#567 IAC 63.1[4] – A PH meter has been purchased to test Leachate samples as they are drawn for the lab to compare with the lab results.

Effluent limits will be followed until new Ammonia limits can be obtained from lab allowing more gallons to be hauled.

Dan Aastrup

RIWMA Director