	IOWA DEPARTMENT OF NATURAL RESOURCES

	Municipal Landfill (MLF) Inspection

	

	Permit #: 66-SDP-01-73P (Inspection)
	Page 1

	Facility Name:

County:
	Floyd-Mitchell-Chickasaw Counties SLF
Mitchell
	Date This Inspection:
	05/22/09

	 Facility Operator:
	Ken Heimendinger, Director
	Waste Amount:  
	130 tons/day

	Address:

Phone:
	3354 330th St., Elma, IA 50628
641-982-4288
	Date Last Inspection:
	02/20/09

	Responsible Official:
	Joel Voaklander
	
	

	Address:

Phone: 
	1120 Sunshine Ave., Osage, IA 50461
641-982-4288
	
	

	At the Time of This Inspection:

	· facility personnel present: Ken Heimendinger
· active unit(s): Phase I
	· surface conditions: dry
· ambient temperature: 65F
· wind direction and speed: SE at 5 mph

	Yes – compliance was being achieved; No – compliance was not being achieved,

N/A – not applicable or not observed; PND – previously noted deficiency
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	DISCUSSION

Item II Operating Procedures, Item 16a - Daily Cover:  Topcoat was being used as alternative daily cover.  The previous day's coverage was incomplete and, therefore, not acceptable.  Methods to correct the deficiency were discussed.  The solution would likely include better compaction and utilizing a smaller work face.  Complete and satisfactory coverage must be provided or the use of Topcoat will be suspended and six inches of compacted daily cover must be used, instead.
REQUIREMENTS

- Provide effective and satisfactory daily cover when using Topcoat, or begin using compacted daily cover, instead, per Special Provision 13f of the Permit and Paragraph 567 IAC 113.8(2)f.   
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