Winneshiek County Area Solid Waste Agency 
201 W Main St 
Decorah, Iowa 52101

Tel: 563.382.2370/563.382.4073
“Doing our part for your world”



Brett,

In regards to the Notice of violation IAC 567-113.10(1) Complaint #28758.  

(1) Update the leachate collection controls to capture the leachate from the working face of the landfill.
We installed two retention basins and berms upgradient from the working face to direct storm water away from the wet weather working face.  We also constructed two sediment basins on the south side of the lagoons.  We put in a series of ditch checks along the perimeter road.

(2) Update the SWPPP to verify the leachate collection system captures all of the leachate from the required areas.

We will update the SWPPP to add in the changes we have made.
(3) Update regular storm water monitoring to insure general water quality criteria are being met.

Our weekly SWPPP Review will include visual inspection of the Unnamed Tributary to ensure sediments are not being deposited by landfill runoff.


[image: image1]

 SHAPE  \* MERGEFORMAT 
[image: image2]

 SHAPE  \* MERGEFORMAT 
[image: image3]

 SHAPE  \* MERGEFORMAT 
[image: image4]

 SHAPE  \* MERGEFORMAT 
[image: image5]

 SHAPE  \* MERGEFORMAT 
[image: image6]
[image: image7.jpg]BT~ N T - - pR—
A — - — —

e = i e —— P -y == g sl
S . — S ~ - -
3 Sy S e




[image: image8.jpg]


[image: image9.jpg]


[image: image10.jpg]AL 2




[image: image11.jpg]


[image: image12.jpg]


