	


[image: image5.jpg]lowA DEPARTMENT OF NATURAL RESOURCES GOVERNOR KiM REYNOLDS
LT. GOVERNOR ADAM GREGG

ACTING DIRECTOR BRUCE TRAUTMAN





MAY 21, 2019
THE MASCHHOFFS

ATTN  NANCY BOHL BORMANN

7475 STATE ROUTE 127

CARLYLE IL  62231 
NOTICE OF VIOLATION: 567 Iowa Administrative Code Chapter 65.2(3) 

                                           567 Iowa Administrative Code Chapter 65.2(9)
SUBJECT:  Hazardous Substance Incident No. 051319-ARM-1100, Woodbine Finishers, 
Facility ID No. 61279, Staff Action No. 134872, Harrison County, Iowa 

Dear Ms. Bormann:

On behalf of the Iowa Department of Natural Resources (DNR), on May 13, 2019, I conducted a routine unformed manure storage basin inspection at the Woodbine Finishers hog confinement site.  This facility is located in the NW ¼, Section 25, Allen Township, Harrison County, Iowa.  During the inspection I met with you, Andy Eischeid, and Jay Janssen.  I provided you a copy of the basin inspection report following the inspection.  However, during this inspection, I also documented a manure spill.

The manure spill was not reported to the DNR.  As we discussed, in accordance with 567 Iowa Administrative Code (IAC) Chapter 65.2(3), the minimum level of manure control for a confinement feeding operations shal be the retention of all manure produced in the confinemet enclosures between periods of manure application.  Additionally, in accordance with 567 – 65.2(9), a release must be reported to the DNR within six hours.  According to Mr. Eischeid, an unknown amount of manure overflowed when a transfer pipe from one of the buildings became plugged.  The spill occurred during the week of April 22, 2019.  

While I did not document contamination to a water of the state, there is still pooled up manure along the north ditch of the basin.  As we discussed, the manure must be properly excavated immediately.  I will need to conduct a follow up investigation once the manure is properly excavated.  According to Mr. Eischeid, a screw has been added to pump outs of the transfer pipes to ensure they don’t overflow again.  As we discussed, a similar incident occurred at this site on May 30, 2013.  A copy of the letter documenting the incident is included with this Notice of Violation.  Please monitor the site to determine if placing the screws on the pump out lids functions as needed.  Additional actions may need to be taken at this site if further manure spills are documented.  Please submit the enclosed 30 day written response by June 1, 2019.  

During this inspection I also documented vultures on top of the dead animal box.  As we discussed, measures should be taken to ensure the dead animals are properly contained at all times. 
Photos of my observations are on the next page.  

[image: image1.png]



Photos 1 and 2: Looking north where manure from the pump out port travelled south into the ditch along the north side of the basin
[image: image2.png]



Photos 3 and 4:  Looking at manure in the ditch 

[image: image3.png]


 [image: image4.png]



Photo 5: Looking east at manure in the ditch                         Photo 6: Looking at the dead box 
If you have any questions regarding this letter please contact me via email at Alison.manz@dnr.iowa.gov or by phone at 712-250-0219.
Sincerely,

Alison Manz

Environmental Specialist

Field Services and Compliance

Enc.  30 day written response

CC:  Woodbine Finishers confinement file, Harrison County
File:  woodbine051319.cf.woodbine finishers NOV letter.manz
	Field Office #4, 1401 Sunnyside Lane, Atlantic, Iowa  50022  /  712-243-1934  /  FAX: 712-243-6251



[image: image5.jpg]